Student:________________________

Class period_____________________

Procedure Check-list for drafting the floor plan

Description of steps					           		Date

| Step 1. | Set-up units and layers. Lay out the exterior walls on the wall layer. |  |
| --- | --- | --- |
| Step 2. | Locate and draw the interior walls. Make sure walls are 6" wide and that room sizes meet standards. |  |
| Step 3. | Load lisp routines or blocks. Determine the location and size of doors and windows and draw on plan. |  |
| Step 4. | Draw the stairs if interior stairs are included in the floor plan. |  |
| Step 5. | Locate and draw the fireplace if included in the floor plan. |  |
| Step 6. | Locate and draw walks, patios and or decks. |  |
| Step 7. | Insert blocks for appliances and bathroom fixtures. Draw cabinets (24” deep) where needed. |  |
| Step 8. | Use the solid command or hatch to shade walls. |  |
| Step 9. | Add dimensions, notes and room names. Be sure to use continued dimension. |  |
| Step 10. | Change to layout 1 and insert title block in paper space. Use the viewport toolbar to zoom the drawing to ¼”=1’-0 |  |
| Step 11. | Print a check plot and make any corrections. Finally drawing should be printed on C or D size paper. |  |

This checklist should be used in determining how to draft a floor plan.  Turn this sheet in with the date you completed each step.