Electrical Vocabulary

Architectural Drawing & Design II

Unit 1: Residential Electrical Systems

- Ampere: the base SI unit of electrical current

- Circuit: the complete path of an electric current

- Circuit Breaker: a device for interrupting an electric circuit to prevent excessive current, as that caused by a short circuit, from damaging the equipment in the circuit or from causing a fire

- Conductor: a material that permits the flow of electricity (usually refers to a wire)

- Conduit: pipes or enclosed channels through which conductors are run

- Connectors: secure connections between two or more conductors and conduit

- Convenience Outlet: a device attached to a circuit to allow electricity to be drawn off for appliances or lighting

- Electrical Wiring: wires, boxes, and devices that control the distribution and use of electricity.

- Electricity: the flow of electrons in a conductor

- Fuse: a safety device that breaks the circuit when it is overloaded by melting a fusible link

- Lighting Outlet: an outlet designed to provide use of a lighting fixture

- Switching: controls the current to lights and appliances

- Ohm: the SI unit of electrical resistance

- Receptacle: a contact device installed at an outlet for the connection of a portable lamp, appliance, or other electric device by means of a plug and flexible cord.

- Service Drop: an electrical line running from a utility pole to a customer's building or other premises

- Service Entrance: the fittings and conductors that bring electricity into the building

- Service Panel: the main distribution box that receives the electricity and distributes it to various points in the house through branch circuits

- Voltage: pressure that forces current through a wire

- Watt: one ampere under one volt of pressure; amperes times volts equal watts