Office and Classroom Safety

Self-Audit Checklist

Building ______________________________	Room __________	Supervisor ______________________	 Date _________

Audit Performed by _____________________________

|  | Y | N | NA | COMMENTS |
| --- | --- | --- | --- | --- |
| A. Walking Surfaces |  |  |  |  |
| - Aisles established and clear |  |  |  |  |
| - No tripping hazards present |  |  |  |  |
| - Floors even (no holes or cracks) |  |  |  |  |
| - Carpets and rugs secure |  |  |  |  |
| - Floors kept dry - not slippery |  |  |  |  |
| - Entrance mats available (wet weather) |  |  |  |  |
| - Outside walkways, stairs, and parking areas in good repair |  |  |  |  |
| B. Bookcases, Shelves, Cabinets |  |  |  |  |
| - Wall shelves designed for intended load |  |  |  |  |
| - Shelves not overloaded |  |  |  |  |
| - Heavy storage cabinets, bookcases and file cabinets secured from tipping |  |  |  |  |
| - File drawers closed when not in use (only one open at a time to prevent tipping) |  |  |  |  |
| C. Electrical Hazards |  |  |  |  |
| - All extension cords are 3-wire type and in good condition - no splices or broken insulation |  |  |  |  |
| - Limit extension cords to ten feet in length |  |  |  |  |
| - Only one extension cord used - not plugged into other extension cords |  |  |  |  |
| - Equipment power cords in good condition - no splices or broken insulation |  |  |  |  |
| - Plugs in good condition - no exposed wires |  |  |  |  |
| - Wall outlet and junction box covers in place |  |  |  |  |
| - Electric circuit panels clear (at least 30 inches open area) |  |  |  |  |
| - Circuits not overloaded - all multiple outlet strips equipped with overload protection |  |  |  |  |
| - No wires or extension cords under carpets or rugs, through doorways, or placed in other traffic areas |  |  |  |  |
| D. Stairways, Ramps, Corridors, Storage Areas |  |  |  |  |
| - Adequate lighting in place (including emergency lighting) |  |  |  |  |
| - Ramps have non-slip surface |  |  |  |  |
| - Stair treads in good condition |  |  |  |  |
| - Stairways clear - not used for storage |  |  |  |  |
| - Handrails installed - in good condition |  |  |  |  |
| - Guardrails installed (where needed) |  |  |  |  |
| - Corridors kept clear of equipment and supplies |  |  |  |  |
| - No storage within 18 inches of sprinkler heads (24 inches of ceiling where no sprinkler system exists) |  |  |  |  |
| - Ladders provided for high storage areas |  |  |  |  |
| E. Office Equipment |  |  |  |  |
| - Chairs in good condition and adjustable (when appropriate) |  |  |  |  |
| - Paper cutter equipped with guard - blade spring functioning |  |  |  |  |
| - Step stools available for use, where needed (consult with EHS for proper design) |  |  |  |  |
| F. Fire Prevention, Emergency Exits, Housekeeping |  |  |  |  |
| - Fire extinguishers have current inspection tags |  |  |  |  |
| - Fire doors not blocked open |  |  |  |  |
| - Exits not obstructed and kept unlocked during normal business hours or special events |  |  |  |  |
| - Exits properly marked, exit signs illuminated |  |  |  |  |
| - Good housekeeping practiced - excess paper, computer cartons, and trash removed |  |  |  |  |
| - Office has current emergency action plan - occupants trained upon initial hire and as necessary thereafter |  |  |  |  |
| - Electric space heaters only as approved by Facilities Engineering |  |  |  |  |
| G. Classrooms, Places of Assembly |  |  |  |  |
| - Desks are in good condition |  |  |  |  |
| - Chairs are in good condition |  |  |  |  |
| - Occupancy limits are posted |  |  |  |  |