ELECTRICAL CALCULATION FOR LIGHTING

·	Most household electrical outlets are 110 or 120 Volts.

·	Most buildings constructed in the last 30-40 years have circuit breakers supplying each branch of outlets with 20 Amps.

Watts divided by Volts = Amps

·	Round off 110 or 120 V to 100

·	2500W / 100 V = 25 Amps (A 20 Amp breaker would be blown if the wattage of the lamps exceeded 2500)