ELECTRICAL CALCULATIONS QUIZ

Calculate the number of Amps being used in the following video production setups using the formula Watts (divided by) Volts = Amps .  If the number of amps exceeds 15 (the average amount for a household breaker) write in all caps “BAM!” by the equation to signify that the breaker would be blown.

1.	 Four lighting instruments are being used with the following wattage for lamps: 500, 500, 250, 250.  What is the total number of Amps being used?

2. 	Three lighting instruments are being used with the following wattage for lamps: 500, 250, 250.  Also, a monitor is being used to check the lighting.  The monitor runs on about 15 watts.  What is the total number of Amps being used?

- Four lighting instruments are being used with the following wattage for lamps: 250, 250, 500, 1000.  Also a monitor is being used and a record deck is being used.  Each piece of equipment runs on about 15 watts.  What is the total number of Amps being used?

- No lighting instruments are being used.  The video camera, a monitor, and a record deck are being used.  What is the total number of Amps being used?

- Three lighting instruments are being used with the following wattage for lamps: 1000, 1000, 1000.  What is the total number of Amps being used?

ELECTRICAL CALCULATIONS QUIZ KEY

- Total watts = 1500.  	1500

100    = 15 Amps

- Total watts = 1015.  	1015

100  =  10 Amps

- Total watts = 2030.	2030

100   = 20.3 Amps  - BAM!

- Total watts = 50.	50

100  = .5 Amps

- Total watts = 3000.	3000

100   =  30 Amps – BAM!