Teacher Notes: Multimeter Ammeter

•	Why electrical test equipment is important

•	The difference in analog and digital meters (how to read a scale)

•	Ammeters clamp-on and in-line (always start at the high range and work down)

•	How ammeters work both in-line and clamp-on

•	Multimeters

•	Explain how to set a multimeter selector switch for the quantity being checked

•	Voltage (AC or DC and how to connect the probes)

•	Resistance ( has its own voltage source and power to equipment must be off)

•	Stress the importance of continuity ( what it is and why it is so important)