- Review the difference in supply, load and control.

- ASHRAE standard 134-2005

- Explain that some components consist of both a load and control. (relays, contactors, etc)

- Show a component, show its corresponding symbol(s), and discuss its use.

- Solenoid (coil)

- 2 and/or 3 pole contactor

- Motor Starter

- Capacitor (start and run)

- Motors – compressor, indoor blower motor, outdoor blower motor, etc.                                                (be sure to show the many ways a motor and other components can be drawn and the letter designations used)

- Fan relay

- Potential relay

- Resistance heaters

- Switches – SPST, SPDT, DPST, DPDT, N.O. AND N.C. Contacts

- Flow switch

- Thermocouple

- Thermistor

- Thermostats  open on rise and close on rise

- Pressure switch, open on rise and close on rise. (This is a good time to introduce differential)

- Fuses

- Thermal and Magnetic breakers

- Transformer(step down)

- Digital and Mechanical room thermostat

- Other Thermal and Magnetic overload devices (Pilot duty and Line duty)

  - Explain a schematic diagram like a road map (It actually helps to have a road map)

  - ASHRAE standard 134-2005 (why this standard is important)

  - Different companies may use different symbols

  - Discuss the importance of a legend

  - Why is it important to be able to determine the sequence of operation?

  - Switching operation effect on control system

  - Have several diagrams to go over with the class

  - Begin with simple diagrams such as the ones in the previous activities

  - http://www.exman.com/ims.html#ia  has a good animation of a motor starter circuit.

  - Continue on to more complex diagrams, culminating with a simple Air Conditioning schematic.

  - Emphasize the sequence of operation and troubleshooting.