Safety Precautions Trivia

Question 1 (Worth 10 points):

Proper lockout/tag-out procedures were not followed. The power was restored without warning all affected persons. A person is being electrocuted (who should have had their own lock in place).
What is the emergency response?

Question 2 (Worth 10 points):

Proper lockout/tag-out procedures were not followed. The power was restored without warning all affected persons. A person is being electrocuted (who should have had their own lock in place).
What is the lockout tag-out procedure?

Question 3 (Worth 5 points):

Construction is about to begin on a building with concrete forms and rebar.

What are the two safety fall protection guidelines that must be followed?

Question 4 (Worth 10 points):

The cover was removed from a breaker box and electrical parts are exposed.

What is the proper hazard control procedure?

Question 5 (Worth 5 points):

You are using a portable tool with an extension cord that has a wire too small for the tool.

What are the requirements for a proper extension cord?

Question 6 (Worth 5 points):

What are 2 examples of PPE?

Question 7 (Worth 5 points):

What are three fall protection options?

Question 8 (Worth 10 points):

Describe five situations where fall protection is needed?