Architecture, Construction, Communications and Transportation

PATHWAY:  	Construction

COURSE:  		Electrical I

UNIT 4 : 		Electrical Drawings

Introduction

Annotation:

This lesson is a classroom session in which the students will be introduced to construction drawings, including drafting lines, electrical symbols, and the interpretation of various types of scales.

Grade(s):

| X | 9th |
| --- | --- |
| X | 10th |
| X | 11th |
| X | 12th |

Time:

20 hours

Author:

Kevin Ward

Additional Author(s):

Students with Disabilities:

For students with disabilities, the instructor should refer to the student's IEP to be sure that the accommodations specified are being provided. Instructors should also familiarize themselves with the provisions of Behavior Intervention Plans that may be part of a student's IEP. Frequent consultation with a student's special education instructor will be beneficial in providing appropriate differentiation.

Focus Standards

GPS Focus Standards:

ACT-E1-2. Students will use tools, instruments, and equipment in a professional

and safe manner.

ACT-E1-4. Students will read, interpret, apply information, and estimate costs

from a variety of architectural and construction working drawings.

GPS Academic Standards:

MC1G1. Students will investigate properties of geometric figures in the coordinate

plane.

MC1P1. Students will solve problems (using appropriate technology).

MC1P3. Students will communicate mathematically.

MC1P4. Students will make connections among mathematical ideas and to other

disciplines.

MC2A2. Students will solve simple equations.

MC2G1. Students will discover, prove, and apply properties of triangles, quadrilaterals,

and other polygons.

SSCG18. The student will demonstrate knowledge of the powers of Georgia’s state and

local governments.

SSEM13. The student will explain how markets, prices and competition influence

economic behavior.

ELA9RL5. Student understands and acquires new vocabulary and uses it correctly in

reading and writing.

MM1A1. Students will explore and interpret the characteristics of functions, using

graphs, tables, and simple algebraic techniques.

MMA2. Students will simplify and operate with radical expressions, polynomials, and

rational expressions.

MM1A3. Students will solve simple equations.

MM1G1. Students will investigate properties of geometric figures in the coordinate plan

SSCG15. The student will explain the functions of the departments and agencies of the

federal bureaucracy.

SP2. Students will evaluate the significance of energy in understanding the structure of

matter and the universe.

National / Local Standards / Industry / ISTE:

Understandings & Goals

Enduring Understandings:

- Students will understand the terminology used in electrical drawings.

- Students will understand the symbols used in electrical drawings.

- Students will understand how to interpret architectural drawings.

Essential Questions:

- What are blue-prints?

- Why does an electrician need to be able to read these plans?

- What happens if the electrician incorrectly reads the plans?

- What kinds of symbols are used in an architectural drawing?

Knowledge from this Unit:

- Students will be able to read electrical symbols on a blue print.

- Students will be able to estimate costs based on the architectural drawings.

- Students will describe and explain the symbols used on the architectural drawings.

Skills from this Unit:

- Explain the basic layout of a set of construction drawings.

- Describe the information included in the title, approval, and revision blocks of a drawing.

- Explain the procedure for approval and revision of an architectural drawing.

- Identify the types of drafting lines used on construction drawings.

- Identify common symbols used on construction drawings.

- Understand the use of architect’s and engineer’s scales.

- Interpret electrical drawings, including site plans, floor plans, and detail drawings.

Assessment(s)

Assessment Method Type: Select one or more of the following. Please consider the type(s) of differentiated instruction you will be using in the classroom.

|  | Pre-test |
| --- | --- |
|  | Objective assessment - multiple-choice, true- false, etc. |
|  | __ Quizzes/Tests __ Unit test |
|  | Group project |
|  | Individual project |
|  | Self-assessment - May include practice quizzes, games, simulations, checklists, etc. |
|  | __ Self-check rubrics __ Self-check during writing/planning process __ Journal reflections on concepts, personal experiences and impact on one’s life __ Reflect on evaluations of work from teachers, business partners, and competition judges __ Academic prompts __ Practice quizzes/tests |
|  | Subjective assessment/Informal observations |
|  | __ Essay tests __ Observe students working with partners __ Observe students role playing |
|  | Peer-assessment |
|  | __ Peer editing & commentary of products/projects/presentations using rubrics __ Peer editing and/or critiquing |
|  | Dialogue and Discussion |
|  | __ Student/teacher conferences __ Partner and small group discussions __ Whole group discussions __ Interaction with/feedback from community members/speakers and business partners |
|  | Constructed Responses |
|  | __ Chart good reading/writing/listening/speaking habits __ Application of skills to real-life situations/scenarios |
|  | Post-test |

Assessment(s) Title:

  - Module Review Questions 1 – 12

  - CONTREN Connect Active Figures 15 and 17

Assessment(s) Description/Directions:

- Have the students complete Active Figures 15 and 17.

- Have the students answer Review Questions 1 – 12 for Sections 1.0.0 – 5.3.0. Provide correct answers and remediation at the end of the quiz.

- Have the students demonstrate the use of an architect’s scale. This can be done during the presentation of Slide 31 or 33 (depending on the type of architect’s scale used) or at the end of the lesson. This corresponds to Performance Task 1.

Attachments for Assessment(s): Please list.

Learning Experiences

Instructional planning: Include lessons, activities and other learning experiences in this section with a brief description of the activities to ensure student acquisition of the knowledge and skills addressed in the standards. Complete the sequence of instruction for each lesson/task in the unit.

Sequence of Instruction

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

ACT-E1-2. Students will use tools, instruments, and equipment in a professional

and safe manner.

ACT-E1-4. Students will read, interpret, apply information, and estimate costs

from a variety of architectural and construction working drawings.

2.  Review Essential Questions.

- What are blue-prints?

- Why does an electrician need to be able to read these plans?

- What happens if the electrician incorrectly reads the plans?

- What kinds of symbols are used in an architectural drawing?

3.  Identify and review the unit vocabulary.

4.  Assessment Activity.

  - Review the objectives to be covered in this module. Ask the students if they have any questions.

  - Explain that students must obtain a score of 70% on the Module Exam and perform certain tasks to the satisfaction of the instructor to receive credit for the module.

  - Discuss the types of drawings typically included in the drawing set for a project.

  - Explain the types of information conveyed by floor plans.

  - Show the students how to orient themselves to the various rooms and levels of a floor plan.

  - Discuss the types of information conveyed by elevation drawings.

  - Discuss sectional drawings.

  - Explain the difference between an electrical drawing and a shop drawing.

  - Point out the engineer’s and architect’s title blocks on a typical drawing.

  - Discuss the information found on a title block.

  - Discuss the information found on an approval block.

  - Explain that approval blocks may be laid out differently from firm to firm.

  - Emphasize the importance of using the most up-to-date set of drawings.

  - Discuss alternate methods of indicating revisions to drawings.

  - Identify each type of drafting line and explain its purpose.

  - Identify each type of electrical drawing line and explain its purpose.

  - Have the students identify different types of electrical drafting lines on an electrical drawing.

- Identify common electrical symbols.

- Have the students find and identify components on an electrical drawing.

- Identify the various receptacle symbols used on electrical drawings.

- Explain that abbreviations can be used with symbols to communicate different meanings.

- Identify the scale of a drawing.

- Explain how to convert the scaled information into actual dimensions.

- Have a student try performing conversions without using an architect’s scale.  Use this exercise to demonstrate the usefulness of architect’s scales.

- Pass around a flat architect’s scale for the students to examine.

- Identify the numbers and markings on a one-inch architect’s scale.

- Demonstrate how to use an architect’s scale. Have the students practice using an architect’s scale.

- Describe how to use a triangular architect’s scale. Provide an example for the trainees to examine.

- Identify the numbers and markings on a triangular architect’s scale and explain their use.

- Demonstrate how to perform conversions with a triangular architect’s scale.

- Have the students use a triangular architect’s scale to determine the dimensions of selected structures on a drawing.

- Explain that a flat architect’s scale can be used to determine dimensions on the job site.

- Compare an engineer’s scale with an architect’s scale.

- Describe the use of a metric architect’s scale.

  - Emphasize that the ability to understand electrical drawings is critical.

  - Show an electrical site plan from an instructor-supplied set of drawings and have the students identify the scale, elevations, and north arrow.

  - Pass around an electrical power plan from an instructor-supplied set of drawings and have the students identify various types of information.

  - Explain the purpose of a key plan.

  - Note that symbols may vary from drawing to drawing and the legend should always be consulted before beginning work.

  - Using 3 x 5 flash cards with an object’s symbol drawn on one side of the card and the title of the object on the other side of the card, ask the students to identify the object.

  - Discuss the types of information conveyed by power plans.

  - Explain that only the power busway is shown on the power plan; the lighting busways will appear on the lighting plan.

  - Pass around a floor plan from an instructor-supplied set of drawings and have the students identify the outlets.

  - Discuss common lines and symbols used to indicate branch circuits.

  - Discuss the NEC® requirements for locating receptacles in dwelling units.

  - Discuss the types of information found on a lighting plan.

  - Discuss the types of information found on a lighting fixture schedule.

- Pass around a lighting floor plan and schedule from a set of instructor-supplied drawings. Have the students identify various fixture types and their locations.

- Review a typical lighting plan.

- Review common lighting symbols.

- Discuss the types of information conveyed by power-riser diagrams.

- Discuss the types of information conveyed by panelboard schedules.

- Note that schematic wiring diagrams will not indicate the physical location of the equipment. Coordinating with other drawings will ensure proper identification and location of equipment and fixtures.

- Define normally open and normally closed.

- Discuss the MasterFormatTM standard for construction specifications.

- Review the detailed breakdown of Division 26.

Attachments for Learning Experiences: Please list.

Notes & Reflections:

Additional Resources

  - Performance Projects: Job Sheets for the Electrical Industry, Level One, New York: Prentice Hall.

  - Contren Connect Electrical 1 Anotated Instructors Guide (available from NCCER).

Culminating Performance Task (Optional)

Culminating Unit Performance Task Title:

Culminating Unit Performance Task Description/Directions/Differentiated Instruction:

Attachments for Culminating Performance Task: Please list.

Unit Resources

Web Resources:

Attachment(s): Supplemental files not listed in assessment, learning experiences, and performance task.

Materials & Equipment:

What 21st Century Technology was used in this unit:

Top of Form

|  | Slide Show Software |  | Graphing Software |  | Audio File(s) |
| --- | --- | --- | --- | --- | --- |
|  | Interactive Whiteboard |  | Calculator |  | Graphic Organizer |
|  | Student Response System |  | Desktop Publishing |  | Image File(s) |
|  | Web Design Software |  | Blog |  | Video |
|  | Animation Software |  | Wiki |  | Electronic Game or Puzzle Maker |
|  | Email |  | Website |  |  |

Bottom of Form