## Module 26109-08
Conductors

Lesson 1 of 2: Conductors and Insulation

This lesson is a classroom session in which the students will be introduced to the various types of conductors and learn how conductors are rated by the National Electrical Code® (NEC®).

Objectives

Upon completion of this lesson, the student should be able to:

- Explain the various sizes and gauges of wire in accordance with American Wire Gauge standards.

- Identify insulation and jacket types according to conditions and applications.

- Describe voltage ratings of conductors and cables.

- Read and identify markings on conductors and cables.

- Use the tables in the NEC® to determine the ampacity of a conductor.

- State the advantage of stranded wire.

- State the advantage of compressed conductors.

- Describe the different materials from which conductors are made.

- Describe the different types of conductor insulation.

- Describe the color coding of insulation.

- Describe instrumentation control wiring.

Performance Requirements

  - None

Reading Assignment

  - Module 26109, Sections 1.0.0 thru 2.7.3

Slide Presentation

  - Module 26109, Part 1 (Slides 1 thru 24)

Suggested Equipment/Materials

  - Variety of solid wire conductors

  - Variety of stranded cables

  - Channel wire assemblies

  - Instrumentation control wiring

Suggested Student Activity

  - Have the students use the NEC® to identify the different types of conductors and cables used in various settings.

Testing

  - Module Review Questions 1 – 17

  - CONTREN Connect Active Figures 5, 7, 13, and 14

Suggested Lab Activities

  - Provide the students with various types of cable and have them use the jacket markings to identify as much information as possible about each type.

Additional Resources

  - National Electrical Code® Handbook, Latest Edition. Quincy, MA: National Fire Protection Association.

  - Contren Connect Electrical 1 Annotated Instructors Guide (available from NCCER).

SLIDE 1

  - Review the objectives to be covered in this module. Ask the students if they have any questions.

  - Explain that students must obtain a score of 70% on the Module Exam and perform certain tasks to the satisfaction of the instructor to receive credit for the module.

SLIDE 2

  - Emphasize the importance of proper conductor selection.

SLIDE 3

  - Discuss the American Wire Gauge system.

SLIDE 4

  - Pass around examples of various sizes of conductors and have the students interpret the insulation markings.

SLIDE 5

  - Show examples of common strand configurations.

  - Compare and contrast stranded and solid conductors.

  - Explain that stranding increases the flexibility of a cable.

SLIDE 6

  - Define circular mil.

  - Explain that reducing the air space between strands of conductors reduces the overall diameter of the cable.

SLIDE 7

  - Discuss the factors of conductivity, cost, availability, and workability in the selection of conductor material.

SLIDE 8

  - Discuss insulation letter codes and their definitions.

SLIDE 9

  - No notes

SLIDE 10

  - Discuss insulation color codes.

SLIDE 11

  - Point out the requirements for fixture wire in NEC Article 402.

SLIDE 12

  - Discuss the use of NM cable and provide an example for the students to examine.

SLIDE 13

  - Explain the difference between NM and NMC.

  - Discuss UF cable and its applications. Provide an example for the students to examine.

SLIDE 14

  - Discuss MV cable and its applications. Provide an example for the students to examine.

SLIDE 15

  - Discuss MC cable and its applications. Provide an example for the students to examine.

SLIDE 16

  - Discuss high-voltage cable and its applications. Provide an example for the students to examine.

SLIDE 17

  - Note that care must be taken not to damage the shield when installing cable with high-voltage shielding. Slight nicks or cuts can cause serious power disruptions and endanger life.

SLIDE 18

- Explain how channel wire assemblies are installed. Provide examples for the students to examine.

SLIDE 19

- Discuss flat conductor cable and its applications. Provide an example for the students to examine.

SLIDE 20

- Discuss TC cable and its applications. Provide an example for the students to examine.

SLIDE 21

- Explain the difference between SE and USE cable. Provide examples for the students to examine.

SLIDE 22

- Discuss pairing and multi-pair instrumentation cable. Provide an example for the students to examine.

SLIDE 23

- Note that instrumentation connections are highly sensitive to slight variations in voltage and resistance. Discuss shielding, drain wire, and shield grounding connections.

SLIDE 24

- Explain the function of plastic jacketing.

TESTING and PERFORMANCE

- Have the students complete Active Figures 5, 7, 13, and 14.

- Have the students answer Review Questions 1 – 17 for Sections 1.0.0 – 2.7.3. Provide correct answers and remediation at the end of the quiz.