## Module 26105-08
Introduction to the National Electrical Code®

Lesson 1 of 1: Layout and Navigation of the NEC®

This lesson is a classroom session in which the students will be introduced to the purpose, history, layout, and use of the National Electrical Code® (NEC®).

Objectives

Upon completion of this lesson, the student should be able to:

- Explain the purpose and history of the NEC®.

- Describe the layout of the NEC®.

- Explain how to navigate the NEC®.

- Describe the purpose of the National Electrical Manufacturers Association (NEMA) and the National Fire Protection Association (NFPA).

- Explain the role of nationally recognized testing laboratories.

Performance Requirements

  - Use NEC Article 90 to determine the scope of the NEC®.  State what is covered by the NEC® and what is not.

  - Find the definition of the term feeder in the NEC®.

  - Look up the NEC® specifications that you would need to follow if you were installing an outlet near a swimming pool.

  - Find the minimum wire bending space required for two No. 1/0 AWG conductors installed in a junction box or cabinet and entering opposite the terminal.

Reading Assignment

  - Module 26105, Sections 1.0.0 thru 5.2.0

Slide Presentation

  - Module 26105 (Slides 1 thru 9)

Suggested Equipment/Materials

  - Copy of the latest edition of the National Electrical Code®

Suggested Student Activity

  - Have the students visit the Occupational Safety and Health Administration (OSHA) website at www.osha.gov and identify the organizations currently recognized by OSHA’s Nationally Recognized Testing Laboratories (NRTL) program.

  - Have students complete Performance Project 26105-1, Derating Conductor Ampacity Based on Quantity and Ambient Temperature.

Testing

  - Module Review Questions 1 – 10

  - CONTREN Connect Active Figure 3

  - Module 26105-08 Exam

Suggested Lab Activities

  - None

Additional Resources

  - National Electrical Code® Handbook, Latest Edition. Quincy, MA: National Fire Protection Association.

  - Performance Projects: Job Sheets for the Electrical Industry, Level One, New York: Prentice Hall.

  - Contren Connect Electrical 1 Annotated Instructors Guide (available from NCCER).

SLIDE 1

  - Review the objectives to be covered in this module.  Ask the students if they have any questions.

  - Explain that students must obtain a score of 70% on the Module Exam and perform certain tasks to the satisfaction of the instructor to receive credit for the module.

SLIDE 2

  - Describe the purpose of the NEC®.

  - Stress the importance of becoming familiar with NEC® requirements.

SLIDE 3

  - Discuss the history and structure of the NEC® committee.

  - Discuss the role of the National Fire Protection Association (NFPA).

SLIDE 4

  - Discuss the layout and structure of the NEC®.

SLIDE 5

  - Describe the two basic types of rules, mandatory and permissive.

  - Review the different types of text in the NEC®.

SLIDE 6

  - Discuss NEC Article 100.

  - Explain the importance of using listed equipment and devices.

SLIDE 7

  - Discuss the chapter organization of the NEC®.

  - Demonstrate how to locate information in the NEC®.

  - Have the students practice finding specified information in the NEC®.

SLIDE 8

  - Demonstrate how to find the NEC® requirements for example installations.

SLIDE 9

  - Discuss the roles of various testing laboratories.

  - Discuss NEMA and its role in specifying electrical equipment.

TESTING and PERFORMANCE

- Have the students complete Active Figure 3.

- Have students answer Review Questions 1 – 10 for Sections 1.0.0 – 5.2.0.  Provide correct answers and remediation at the end of the quiz.

- Have the students complete the Trade Terms Quiz.

- Students must complete the following Performance Tasks:

- Use NEC Article 90 to determine the scope of the NEC®. State what is covered by the NEC® and what is not.

- Find the definition of the term feeder in the NEC®.

- Look up the NEC® specifications that you would need to follow if you were installing an outlet near a swimming pool.

- Find the minimum wire bending space required for two No. 1/0 AWG conductors installed in a junction box or cabinet and entering opposite the terminal.

  - Administer the Module Exam.