## Module 02102-05
Plumbing Safety

Lesson 4 of 5: Trenching, and Lockout/Tagout

This lesson is a classroom session in which the students will learn about the safe use of hand and power tools typically used by plumbers. Students will be required to inspect power tools to ensure they are safe to use to fulfill a Performance Task requirement.

Objectives

Upon completion of this lesson, the student should be able to:

- Explain how to work safely in and around a trench.

- Describe the three methods used to make a trench safer.

- Describe and demonstrate the lockout/tagout process.

- Describe the emergency removal procedure of a lockout/tagout.

Performance Requirements

  - Practice and/or demonstrate how to perform a lockout/tagout.  This corresponds to Performance Task 5.

Reading Assignment

  - Module 02102, Sections 8 & 9

Slide Presentation

  - Module 02102, Part 4 (Slides 47 thru 54)

Suggested Equipment/Materials

  - Lockout tags and locks

  - Samples of different types of soils

Suggested Student Activity

  - Have students visit a construction site where trenching is being done to observe methods used to prevent cave-ins.  Have students report on what they observed.

Testing

  - Module Review Test Questions 1 thru 5 for Section 8.0.0 and Questions 1 thru 5 for Section 9.0.0.

  - CONTREN Connect, Active Figure 38

Suggested Lab Activity

  - Students must demonstrate how to perform a lockout/tagout.

Additional Resources

  - www.buildsafe.org/resource/trench/trench.htm  (The Construction Safety Council) A variety of downloadable information on trenching safety.

  - www.osha.gov/dts/osta/lototrainign/index.htm  (OSHA) A lockout/tagout interactive training program.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 47

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Define trenches and provide examples of situations where plumbers are required to work in trenches.

  - Describe the hazards of working in or around trenches.

  - Describe the guidelines for working in and around a trench.

  - Define a competent person and explain his/her role in ensuring trench safety.

  - Describe the types of measures used to prevent the cave-in of a trench over 5 feet deep.

  - Under your supervision, have students visit a construction site where trenching is being done to observe safety measures being taken.  Have students report on their findings.

SLIDE 48

  - Describe the methods used to safely enter and leave a trench.

  - Describe the guidelines for constructing/placing ladders, ramps, and stairways used to enter and leave trenches.

SLIDE 49

  - Obtain samples of each of the types of soils covered in the table and allow the students to examine the samples.

  - Explain that soil type has an effect on the design of access ramps entering and leaving a trench and the type of shoring used to support the walls of the trench.

SLIDE 50

  - Describe the various symptoms that indicate that a trench is unstable and at risk of collapsing.

  - Describe the different types of trench cave-ins.

  - Describe the kinds of conditions that are likely to result in a trench cave-in.

SLIDE 51

  - Describe the three methods used to make trenches safer: shoring, trench shields, and sloping.

  - Describe the methods and procedures used to prevent workers from falling into an open trench.

Have students answer Review Questions for Section 8.0.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 38.

SLIDE 52

  - Describe the purpose of lockout/tagout devices.

  - Explain the circumstances under which multiple lockout devices would be used.

SLIDE 53

  - Explain that in addition to electrical equipment, lockout/tagout is also on valves that control the flow of liquids.

SLIDE 54

  - Describe and demonstrate all aspects of lockout/tagout procedures including sequences, restoring energy, and emergency removal of authorization.

  - Review job site safeguards designed to reduce accidents.

  - Allow students to practice all aspects of the lockout/tagout procedure.

  - Play Video on Slide 54B

Have students answer Review Questions for Section 9.0.0.  Provide correct answers and remediation at the end of the quiz.

Students must demonstrate how to perform a lockout/tagout.  This task corresponds to Performance Task 5.