## Module 02102-05
Plumbing Safety

Lesson 5 of 5: Confined Spaces, Underground Safety, and Emergency Response

This lesson is a classroom session in which the students will learn about working safely in confined spaces and underground.  Students will also learn how to respond if an emergency occurs on the job site.

Objectives

Upon completion of this lesson, the student should be able to:

- Describe what the term “confined space” means.

- Describe the confined space classifications.

- Describe confined space safety hazards.

- Describe typical components of an emergency response plan.

Performance Requirements

  - No performance requirements in this lesson.

Reading Assignment

  - Module 02102, Sections 10 thru 12

Slide Presentation

  - Module 02102, Part 5 (Slides 55 thru 64)

Suggested Equipment/Materials

  - Copies of entry permits

  - Copies of an emergency action plan.

  - Examples of atmospheric detection meters

Suggested Student Activity

  - Have students view a video on confined space safety.

Testing

  - Module Review Test Questions 1 thru 5 for Section 10.0.0, Questions 1 thru 5 for Section 11.0.0, and Questions 1 thru 5 for Section 12.0.0.

  - Module Examination

Suggested Lab Activity

  - No lab requirements in this lesson.

Additional Resources

  - www.safetytrainingnetwork.com/products/confinedspace.shtml  (The Training Network) A variety of confined space training videos.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 55

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Define the meaning of a confined space.

  - Describe the hazards typically found in a confined space.

  - Describe the differences between a non-permit-required and a permit-required confined space.

  - Provide students with example characteristics of a confined space and have them determine if the confined space is non-permit-required or permit-required.

SLIDES 56 & 57

  - Explain that a written entry permit is required to enter a permit-required confined space.

  - Use the two-part Figure 42 (2 slides) to review the information typically found on an entry permit.

SLIDE 58

  - Review the several types of atmospheric hazards that can be found in a confined space as listed in Section 10.3.0.

  - Discuss some of the detection meters used to detect atmospheric hazards.

  - Have detection meters available to pass around to members of the class.

SLIDE 59

  - Review the several types of other non-atmospheric hazards that can be found in a confined space such as electrical shock, extreme temperature, and moving parts.  See Section 10.4.0.

SLIDE 60

  - Review the several types of safeguards that can be implemented to make working in confined spaces safer.  See Section 10.5.0.

Have students answer Review Questions for Section 10.0.0.  Provide correct answers and remediation at the end of the quiz.

SLIDE 61

  - State that working conditions in tunnels, shafts, chambers, and passageways located underground are regulated by specific OSHA requirements.

  - Review access and air monitoring and ventilation requirements.

  - Define what “gassy operations” are and what must be done before working in them.

SLIDE 62

  - Review the illumination and communications requirements for working underground.

  - Review the personal protective equipment required when working underground.

  - Review the emergency response team requirements that must be in place when persons are working underground.

Have students answer Review Questions for Section 11.0.0.  Provide correct answers and remediation at the end of the quiz.

SLIDE 63

  - Review the actions that individuals and organizations must take when on-the-job accidents occur.

  - Describe what an emergency action plan is, who develops it, and the type of information it typically contains.

  - Have samples of different emergency action plans available to pass around to students.  Ask students to report on similarities and differences they see among the different plans.

SLIDE 64

  - Describe the purpose of emergency evacuation procedures and emergency escape routes.

  - Ask students to find the emergency escape route map in the building where you are conducting this class.  Ask them to trace out the route so that they know how to evacuate the building in case of an emergency or accident.

Have students answer Review Questions for Section 12.0.0.  Provide correct answers and remediation at the end of the quiz.

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.