## Module 02107-05
Copper Pipe and Fittings

Lesson 1 of 2: Introduction to Copper Pipe, Fittings, and Valves

This lesson is a classroom session in which the students will learn about copper pipe and copper pipe fittings and valves used in modern plumbing systems.  Students will select correct types of materials for copper piping systems and identify various types of fittings and valves and their uses to fulfill Performance Task requirements.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify types of materials and schedules used with copper pipe.

- Describe the advantages and disadvantages of copper pipes used in plumbing systems.

- Identify the material properties, storage, and handling requirements of copper piping.

- Identify types of valves and fittings used with copper piping.

Performance Requirements

  - Select correct types of materials for copper piping systems.  This corresponds to Performance Task 1.

  - Identify types of fittings and valves and their uses. This corresponds to Performance Task 2.

Reading Assignment

  - Module 02107, Sections 1 thru 3

Slide Presentation

  - Module 02107, Part 1 (Slides 1 thru 11)

Suggested Equipment/Materials

  - Samples of various types of copper pipe and copper pipe fittings.

Suggested Student Activity

  - Have students go on line and download information about copper tubing products and/or valves and fittings from a manufacturer’s website.  This will enable students to get a feel for the variety of copper tubing products that are available.

Testing

  - Module Review Test Questions 1 thru 8 for Sections 1.0.0 - 2.0.0, and Questions 1 thru 5 for Sections 3.0.0. – 4.0.0.

  - CONTREN Connect, Active Figure 3

Suggested Lab Activity

  - Students must select correct types of materials for copper piping systems and identify types of fittings and valves and their usage.

Additional Resources

  - www.copper.org/applications/plumbing/techcorner/homepage.html (Copper Development Association) Downloadable technical tips for working with copper piping.

  - www.cerrocu.com (Cerro Flow Products, Inc.) Information on copper tubing products used for plumbing.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 1

  - Review the objectives for the module.

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

SLIDE 2

  - Discuss the advantages and disadvantages of copper pipe.

  - Discuss the five different types of copper tubing and the common uses of each type.

  - Have samples of the different types of copper tubing available to pass around the class.

SLIDE 3

  - Explain how types K, L, M and DWV pipes are sized.

  - Explain how type ACR pipe is sized.

  - Pass samples of these types around the class so the students can see the differences.

SLIDE 4

  - Describe the color code used to identify the five types of copper tubing.

  - Have color-coded samples of tubing available to pass around the class.

  - Discuss strength and formability issues that must be considered when selecting copper pipes for an application.

  - Describe how to properly store and handle copper pipes.

Have students answer Review Questions for Sections 1.0.0 - 2.0.0. Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 3.

SLIDE 5

  - Explain that pipe usage determines the type of fittings and valves used with copper pipe.

  - Explain that fittings and valves must be selected to minimize pressure drop.

  - Use this slide along with slides 6  and  7 to describe the common fittings used with copper tubing and what they do.

  - Have samples of various copper fittings available to pass around the class.

SLIDE 6

No notes

SLIDE 7

No notes

SLIDE 8

  - Describe the purpose of valves and how they operate.

  - Describe the six types of valves commonly used in water supply systems and give examples of their uses.

  - Have samples of each of the six valve types available to pass around to the class.

  - Describe the unique characteristics of DWV fittings.

SLIDE 9

  - Describe and demonstrate how press fittings are made.

  - Have a pressing tool available to pass around the class.

SLIDE 10

  - Explain what a bullhead tee is and why they should be avoided in piping systems.

  - Describe and demonstrate how to use a tee-pulling tool (Slide 11, Figure 5).

  - Have a sample of a tee connection made with a tee-pulling tool available to pass around the class (Slide 12, Figure 6).

SLIDE 11

- Discuss the advantages of mechanically formed tees.

Have students answer Review Questions 1 thru 5 for Sections 3.0.0 - 4.0.0. Provide correct answers and remediation at the end of the quiz.