## Module 02108-05
Cast-Iron Pipe and Fittings

Lesson 1 of 3: Types of Cast-Iron Pipe, and Fittings

This lesson is a classroom session in which the students will learn about cast-iron pipe and fittings used in modern plumbing systems.  Students will select correct types of materials for cast-iron piping systems and identify various types of fittings and their uses to fulfill Performance Task requirements.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify types of materials and schedules used with cast-iron pipe.

- Recognize proper and improper applications of cast-iron pipe.

- Describe the advantages and disadvantages of cast-iron pipes used in plumbing systems.

- Identify the material properties, storage, and handling requirements of cast-iron piping.

- Identify types of fittings used with cast-iron piping.

Performance Requirements

  - Select correct types of materials for cast-iron piping systems.  This corresponds to Performance Task 1.

  - Identify types of fittings and their uses. This corresponds to Performance Task 2.

Reading Assignment

  - Module 02108, Sections 1 thru 3

Slide Presentation

  - Module 02108, Part 1 (Slides 1 thru 16)

Suggested Equipment/Materials

  - Samples of various types of cast-iron pipe and cast-iron pipe fittings.

Suggested Student Activity

  - Have students visit a construction site where cast-iron piping is being used to install a DWV system.  Have students write a brief report on what they observed.

Testing

  - Module Review Test Questions 1 thru 18 for Sections 2.0.0 - 3.0.0.

  - CONTREN Connect, Active Figures 5 & 11

Suggested Lab Activity

  - Students must select correct types of materials for cast-iron piping systems and identify types of fittings and their usage.

Additional Resources

  - Basic Plumbing with Illustrations, Carlsbad, CA, Craftsman Book Company

  - www.abifoundry.com/iron_v_plastic.htm (AB&I Foundry) A paper outlining the advantages of cast-iron pipe.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 1

  - Review the objectives for the module.

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

SLIDE 2

  - Introduce cast-iron pipe and its use in DWV systems.

  - Explain what ductile iron is and why it is used for pipe.

SLIDE 3

  - Explain that there are two types of cast-iron pipe: hub-and-spigot, and no-hub.

  - Describe the characteristics of hub-and-spigot pipe.

  - Have a sample of hub-and-spigot pipe available to pass around the class.

SLIDE 4

  - Describe the characteristics of no-hub pipe.

  - Have a sample of no-hub pipe available to pass around the class.

SLIDE 5

  - Discuss the size availability (diameters and lengths) of hub-and-spigot, and no-hub pipes.

  - Describe wall thickness classifications and state where each type of wall thickness is typically used.

SLIDE 6

  - Discuss the labeling of cast-iron pipe that conforms to Cast Iron Soil Pipe Institute (CISPI) standards.  Point out the CISPI trademark and pipe diameter markings (Slides 5 & 6, Figures 3 & 4).

  - Have samples of CISPI-labeled pipe available to pass around the class.

  - Discuss the storage and handling requirements for cast-iron pipe.

SLIDE 7

  - Explain that fittings change the direction of flow in DWV systems.

  - Have samples of sweeps and bends available to pass around the class.

SLIDE 8

  - Describe the characteristics of standard bends and long bends and explain how sweeps are similar to ¼ bends.

SLIDE 9

  - Describe the characteristics and purpose of bends with heel inlets.

  - Have a sample of a bend with a heel inlet available to pass around the class.

SLIDE 10

  - Describe the characteristics and purpose of a closet bend.

  - Have a sample of a closet bend available to pass around the class.

SLIDE 11

  - Describe the characteristics and purpose of a closet flange.

  - Have a sample of a closet flange available to pass around the class.

SLIDE 12

  - Discuss the benefits of installing branches in piping systems.

  - Describe the characteristics and purpose of wyes.

  - Have a sample of a wye (single or double) available to pass around the class.

SLIDE 13

  - Discuss uses of the various DWV fittings.

SLIDE 14

  - Describe the characteristics and purpose of sanitary tees and sanitary crosses.

  - Have a sample of a sanitary tee and/or sanitary cross available to pass around the class.

SLIDE 15

  - Describe the characteristics and purpose of increasers.

  - Have a sample of an increaser available to pass around the class.

SLIDE 16

  - Describe the characteristics and purpose of traps.

  - Have a sample of a trap available to pass around the class.

Have students answer Review Questions for Sections 2.0.0 - 3.0.0. Provide correct answers and remediation at the end of the quiz.

Have students complete Active Figures 5 & 11.

Students must select correct types of materials for cast-iron piping systems, and identify types of fittings and their uses.  These tasks correspond to Performance Tasks 1 and 2 respectively.