## Module 02111-05
Fixtures and Faucets

Lesson 1 of 2: Fixtures and Faucets, Part One

This lesson is a classroom session in which the students will learn about fixtures and faucets used in modern plumbing systems.  Students will identify the most commonly installed lavatories, tubs, sinks, and toilets to fulfill a Performance Task requirement.

Objectives

Upon completion of this lesson, the student should be able to:

- Discuss the basic principles of sanitation and safety.

- Identify the basic types of materials used in the manufacture of plumbing fixtures.

- Discuss common types of sinks, lavatories, and faucets.

- Identify and discuss common types of bathtubs, bath-shower modules, shower stalls, and shower baths.

Performance Requirements

  - Identify the most commonly installed lavatories, tubs, sinks, and toilets. This corresponds to Performance Task 1.

Reading Assignment

  - Module 02111, Sections 1 thru 4.4.2

Slide Presentation

  - Module 02111, Part 1 (Slides 1 thru 23)

Suggested Equipment/Materials

  - Fixture manufacturer’s catalogs.

Suggested Student Activity

  - Have students visit a plumbing supply showroom to view the various fixtures available.  Have students obtain catalogs listing various fixtures.

Testing

  - Module Review Test Questions 1 thru 10 for Section 1.0.0 – 4.4.0.

  - CONTREN Connect, Active Figures 2 & 8b

Suggested Lab Activity

  - Students must identify the most commonly installed lavatories, tubs, sinks, and toilets.

Additional Resources

  - www.us.kohler.com (Kohler) Catalogs of bathroom fixtures.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 1

  - Review the objectives for the module.

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson objectives.

SLIDE 2

  - Explain that plumbers have to be familiar with the fixtures and faucets available because installing and repairing these fixtures is a major part of the plumber’s work.

  - Describe what fixtures and faucets are.

SLIDE 3

  - Review the Basic Principles of Sanitation and Safety in paragraph 2.0.0.

  - As each principle is reviewed, ask students if they can relate a situation where that principle was violated.

SLIDE 4

  - Discuss the various materials used to make fixtures, including the advantages and disadvantages of each material.

  - Ask students to relate the type of material used in the fixtures in their homes.  Ask them what they like or dislike about the material used in the fixtures in their homes.

SLIDE 5

  - Explain that fixtures are available in a variety of styles for residential and commercial applications.

  - Briefly review some of the requirement for fixtures in public buildings as set forth in the Americans with Disabilities Act of 1990 (ADA).

  - Describe the characteristics of a sink.

  - Describe the difference between sinks and lavatories.

SLIDE 6

  - Describe the characteristics of the four major categories of lavatories and sinks.  Note that Figure 2 is in two parts (Slides 6 & 7).

  - During a break, ask students to look at the sinks/lavatories in the rest rooms and report back to the class about the types they observed.

SLIDE 7

No Notes

SLIDE 8

  - Describe the characteristics and installation requirements of wall-hung lavatories.

  - Explain how wall-hung lavatories are supported.

SLIDE 9

  - Describe the special characteristics of wheelchair-accessible lavatories.

  - During break, ask students to inspect the wheelchair-accessible lavatory in the rest room and note the differences.

  - Discuss how ADA affects plumbing installations and other construction areas.

SLIDE 10

  - Describe the characteristics of a vanity-top lavatory.

SLIDE 11

  - Describe the characteristics of a pedestal lavatory.

SLIDE 12

  - Describe the characteristics of left- and right-hand bathtubs.

SLIDE 13

  - Describe the characteristics of whirlpool bathtubs. Note that Figure 8 is in two parts (Slides 13 & 14).

SLIDE 14

No Notes

SLIDE 15

  - Explain that bathtubs are also available as freestanding, built-in, or bath-shower combinations.

  - Describe the characteristics of each type.

  - Ask students to describe the type of bathtub they have in their home.

SLIDE 16

  - Describe the characteristics of shower stalls.

SLIDE 17

  - Describe the characteristics of the different types of water closets.

  - Describe the characteristics of ADA-compliant water closets.

  - Describe the characteristics of water-conserving water closets.

SLIDE 18

  - Describe the basic operating principles of a flush toilet.

SLIDE  19

  - Describe  and compare the basic operation of five older-style water closets including the washdown water closet (Slide 19, Figure 13), the reverse-trap water closet (Slide 20, Figure 14), the siphon-jet water closet (Slide 21, Figure 15), the siphon-action water closet (Slide 22, Figure 16), and the blowout water closet (Slide 23, Figure 17).

  - Explain that these older water closets use a lot of water to flush.  They are still in use in older buildings, but are no longer permitted in new installations.

Slide 20

No notes

SLIDE 21

No notes

SLIDE 22

No notes

SLIDE 23

Have students answer Review Questions for Sections 1.0.0 – 4.4.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figures 2 and 8b.

Students must identify the most commonly installed lavatories, tubs, sinks, and toilets.  This task corresponds to Performance Tasks 1.