## Module 02112-05
Introduction to Drain, Waste, and Vent (DWV) Systems

Lesson 1 of 2: DWV Systems, Fixtures, Drains, and Traps, and Installation Requirements

This lesson is a classroom session in which the students will learn about drain, waste, and vent (DWV) systems.

Objectives

Upon completion of this lesson, the student should be able to:

- Explain how waste moves from a fixture through the drain system to the environment.

- Identify the major components of a drainage system and describe their functions.

- Identify the different types of traps and their components, explain the importance of traps, and identify the ways that traps can lose their seals.

Performance Requirements

  - No Performance Requirements in this lesson.

Reading Assignment

  - Module 02112, Sections 1 thru 4

Slide Presentation

  - Module 02112, Part 1 (Slides 1 thru 16)

Suggested Equipment/Materials

  - Samples of traps.

Suggested Student Activity

  - Have students visit a residential construction site to observe a DWV system being installed in a new home.  Have students write a brief report on what they observed.

Testing

  - Module Review Test Questions 1 thru 10 for Section 1.0.0 – 4.0.0.

  - CONTREN Connect, Active Figures 1 & 8

Suggested Lab Activity

  - No lab activities in this lesson.

Additional Resources

  - www.cispi.org/handbook.htm (Cast Iron Soil Pipe Institute) Pipe & Fittings Handbook for DWV systems.

  - www.ppfahome.org/abs.html (Plastic Pipe and Fittings Association) Information on the use of ABS pipes in DWV systems.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 1

  - Review the objectives for the module.

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson objectives.

SLIDE 2

  - Explain the purpose of DWV systems.

  - Describe the three major parts of a DWV system.

SLIDE 3

  - Describe the eleven major components of a DWV system.  See paragraph 2.0.0.

  - Have students study Figure 2.  Then have them practice sketching a simple DWV system.

SLIDE 4

  - Describe the characteristics of fixture drains.

  - Have samples of fixture drains available to pass around the class.

SLIDE 5

  - Describe how traps operate to protect the safety of homes and other buildings.

  - Describe characteristics of traps.

  - Describe the undesirable conditions that a fixture trap protects against.

  - Have a fixture trap available to pass around the class.

SLIDE 6

  - Describe the characteristics of P-traps.

  - Have samples of different types of P-traps made of different materials available to pass around the class.

SLIDE 7

  - Describe the characteristics of interceptors and describe the types of materials they typically prevent from entering the sewer.

SLIDE 8

  - Describe the characteristics of S-traps and explain why codes no longer allow their installation.

SLIDE 9

  - Describe the integral traps built into water closets.  Explain why another trap should never be installed with a water closet.

SLIDE 10

  - Describe the basic parts of a trap and what each part does.

SLIDE 11

  - Describe the critical dimensions (Slide 11, Figure 9) and code requirements governing trap installations (Slide 12, Table 1).

SLIDE 12

No Notes

SLIDE 13

  - Explain the proper function of a trap.

  - Explain that traps may lose their seal a number of ways.

SLIDE 14

  - Explain how a trap can lose its seal through siphonage.

  - Explain how a trap can lose its seal through aspiration and momentum.

SLIDE 15

  - Explain how a trap can lose its seal through oscillation.

  - Explain how a trap can lose its seal through backpressure.

  - Explain how a trap can lose its seal through evaporation.

SLIDE 16

  - Explain how a trap can lose its seal through capillary attraction.

  - Explain how a trap can lose its seal through a crack in the trap.

  - Introduce students to the memory aid SAMOBECC (See Did You Know? below Figure 13) to help them remember the different ways that a trap can lose its seal.

Have students answer Review Questions for Sections 1.0.0 – 4.0.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figures 1 and 8.