PATHWAY: 		 Construction

COURSE:  		Plumbing I

UNIT 3.3: 		Cast-Iron Pipe and Fittings

Introduction

Annotation:

This unit discusses proper and improper applications of cast-iron piping. Students will learn how to identify materials, schedules, and fittings used with cast-iron piping, as well as how to properly measure, and support cast-iron piping.

--Prior to turning with this unit, it is recommended that the student shall have successfully completed Core Curriculum; Plumbing Level One, Modules 02101-05 through 02105-05.

Grade(s):

|  | 9th |
| --- | --- |
|  | 10th |
| x | 11th |
| x | 12th |

Time:  Each lesson should take 2 ½ hours with the total time for this unit being approximately 13 hours.

Author: Jim Steel- Lee County High School-9th Grade Campus

Additional Author(s):

Students with Disabilities:

For students with disabilities, the instructor should refer to the student's IEP to be sure that the accommodations specified are being provided. Instructors should also familiarize themselves with the provisions of Behavior Intervention Plans that may be part of a student's IEP. Frequent consultation with a student's special education instructor will be beneficial in providing appropriate differentiation.

Focus Standards

GPS Focus Standards:

ACT-P1-3. Students will become familiar with the selection, handling, storage, and proper use of plumbing related construction materials.

a. Install pipes, fittings and valves, hangers, supports, fixtures, and appliances.

GPS Academic Standards:

SSCG15. The student will explain the functions of the departments and agencies of the federal bureaucracy.

SEV4. Students will understand and describe availability, allocation and conservation of energy and other resources.

National / Local Standards / Industry / ISTE:

NCCER 02108-05 Cast-Iron Pipe and Fittings

Understandings & Goals

Enduring Understandings:

- The goal of the plumber is to protect the health, safety, and comfort of the nation, job by job.

- Proper understanding of the basics of cutting, measuring and installing plumbing materials is essential to the success of a plumber

- Working safely with a variety of materials and tools is essential to the success of a plumber.

Essential Questions:

- How does having an intimate knowledge of the correct procedures for cutting, measuring and installing plumbing materials contribute to the success of a plumber?

- Why should working safely be on the forefront of every plumber’s mind?

- Why is the responsibility of each person to be safe?

- How can you contribute to the health, safety and comfort of the nation, job by job?

Knowledge from this Unit:

Upon completion of this unit, the student will be able to do the following:

- Recognize proper and improper applications of cast-iron piping.

- Identify the material properties, storage, and handling requirements of cast iron piping.

- Identify the types of materials and schedules used in cast-iron piping.

- Identify the types of fittings used with cast-iron piping.

- Identify the various techniques used in handling and supporting cast-iron piping.

- Properly measure, cut, and join cast-iron piping.

- Identify the hazards and safety precautions associated with cast-iron piping.

Skills from this Unit:

Under the supervision of the instructor, the student should be able to do the following:

- Select correct materials for cast-iron piping systems.

- Identify types of fittings and their uses.

- Select the appropriate personal protective equipment for cast-iron piping.

- Correctly measure, cut, and join cast-iron pipe.

- Select the correct hanger or support and spacing for the application.

Assessment(s)

Assessment Method Type:

| X | Pre-test |
| --- | --- |
| x | Objective assessment - multiple-choice, true- false, etc. |
|  | x__ Quizzes/Tests _x_ Unit test |
|  | Group project |
| X | Individual project |
|  | Self-assessment - May include practice quizzes, games, simulations, checklists, etc. |
|  | __ Self-check rubrics __ Self-check during writing/planning process __ Journal reflections on concepts, personal experiences and impact on one’s life __ Reflect on evaluations of work from teachers, business partners, and competition judges __ Academic prompts __ Practice quizzes/tests |
| X | Subjective assessment/Informal observations |
|  | __ Essay tests __ Observe students working with partners __ Observe students role playing |
|  | Peer-assessment |
|  | __ Peer editing & commentary of products/projects/presentations using rubrics __ Peer editing and/or critiquing |
| X | Dialogue and Discussion |
|  | __ Student/teacher conferences __ Partner and small group discussions __ Whole group discussions __ Interaction with/feedback from community members/speakers and business partners |
|  | Constructed Responses |
|  | __ Chart good reading/writing/listening/speaking habits __ Application of skills to real-life situations/scenarios |
| X | Post-test |

Assessment(s) Title:

- Each section has a quiz over the material covered.

- At the end of the module, there is a trade term quiz to be covered.

- Performance Tests and Written test

Assessment(s) Description/Directions:

- Section quiz: Have students complete the section quizzes

- Trade Term Quiz: have students complete the trade term quiz

- Performance tests and written tests are found in the Testing Booklet

Attachments for Assessment(s):

Learning Experiences

Sequence of Instruction

Safety considerations:

Ensure that students are equipped with appropriate personal protective equipment, and they are properly instructed on its use. Emphasize safety precautions specific to pipe-cutting operations. Stressed the importance of following manufacturer's recommendations when cutting or sawing pipe or when using any flame, heat, or power tools. Remind students of the hazards and safety precautions specific to working with molten lead.

Lesson 1: Types of Cast-Iron Pipe

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

2.  Review Essential Questions.

3.  Identify and review the unit vocabulary.

Many of the terms used in this lesson were introduced in the Core Curriculum module. Additional terms for this are:

Ductile iron     Hub-and spigot pipe     No-hub pipe     Service

4.  Lesson content: Types of Cast-Iron Pipe: explain when and how cast-iron pipe was introduced to the plumbing industry. Explain how cast-iron is formed, and compare the two types of iron that use to make cast-iron pipes and fittings. Discussed the two types of cast-iron pipe:

- Hub-and-spigot pipe

- No-hub pipe: Discuss the advantages of using no-hub cast-iron pipe.

- Sizes: Discuss the ways that single-and double-hub cast-iron pipe are measured and sized. Discussed the thicknesses manufacturers used to make cast-iron pipe. Bring in a variety of sections of pipe. Demonstrate the different sizes and wall thicknesses. Set up a variety of stations with various sizes of cast-iron pipe. Have students suspect the pipe and determine whether it is hub-and-spigot (single or double) or no-hub pipe. Have students determine whether it is service grade or extra heavy pipe.  Emphasize the importance of referring to applicable codes for your area when working with cast-iron pipe.

- Labeling: explain that all pipe must be measured and labeled with the CISPI (Cast Iron Soil Pipe Institute) trademark before it may be used. Bring in a variety of fittings with labels. Have students inspect fittings and identify information that you specify. Explain problems that can result if no-hub plumbing materials are labeled incorrectly.

- Storage and Handling:  Explain how to organize and store pipes and fittings to prevent damage.

- Performance Testing (Task 1)

Lesson 2: Fittings

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

2.  Review Essential Questions.

3.  Identify and review the unit vocabulary.

Many of the terms used in this lesson were introduced in the Core Curriculum module. Additional terms for this are:

Bends     Long bends     Sweeps     Heel inlets     Closet bends     Closet flange     Wyes

Double wyes      Main stack     Sanitary tee     double sanitary tee     sanitary cross     Increaser     Traps

4.  Lesson content: Fittings

- Bends: explain how bends are used to change the direction the piping. Review and discuss the common types of bends:

- short or long sweep 90°

- short or long  ¼ bend 90°

- ⅛ bend 45°

- ⅕  band 72°

- Low-hub ¼  bend

- ⅙ bend 60°

- 1/16

- 1/16  bend 22 1/2 °

Explain how Long bends or size. Compare the two types of sweeps (long sweeps and short sweeps) and explain how both are used. Discuss the benefits of using a heel inlet. Explain how closet bends and closet flanges are used to connect water closets. Set up stations with a variety of different bends. Add students identify the type of bend and list one application for each.

- Branches: explain how fittings are used to create branches in the piping system. Discuss the various types of branches, and makes plain how each is used. Explain how the dimensions of the tee indicate the diameter of the openings. Using Table 1 on page 8.7, describe a variety of applications for branches. Provide the flow of materials and changes in direction. Have students determine appropriate branches for each scenario.

- Increasers: Explain that an increaser is the same thing as a reducer. Discuss the advantages of using an increaser.

- Traps: Review of various types of traps, and explain how each is used.

- Performance Testing (Task 2)

Lesson 3: Measuring, Cutting and Joining

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

2.  Review Essential Questions.

3.  Identify and review the unit vocabulary.

Many of the terms used in this lesson were introduced in the Core Curriculum module. Additional terms for this are:

Lead and oakum joints     Insertion length     Soil pipe cutter     Compression joint     Oakum fiber

Running rope     Joint runner     Spring clamp     Propane melting furnace     Lead pot    Ladle

Yarning iron     Packing iron     Caulking iron     Ceiling caulking iron     Inside caulking iron

Outside caulking iron     Pickout iron     Couplings     Torque wrench

4.  Lesson content: Measuring, Cutting and Joining

- Measuring and Cutting Hub-and-Spigot Pipe:  discuss the importance of accurate measurements. Explain how the insertion length is used to obtain the correct measurement. Explain how to locate the center of a fitting. Bring in the section of cast-iron pipe. Demonstrate how to determine cutting length. Demonstrate how to perform the measuring techniques illustrated in figures on pages 8.12 8.13. Explain that there are several different ways to measure the pipe. Have students practice placing the fittings together and measuring the distance between the center marks on the fittings. Bring in a folding rule, a length of pipe and several fittings. Using the figures on page 8.13, demonstrate how to measure pipe length. Explain how a soil pipe cutter can be used to cut a variety of pipe sizes.

- Measuring and Cutting No-Hub Pipe: discuss and explain how to measure and cut no-hub cast-iron pipe. Demonstrate how to determine the gasket allowance.

- Joining Hub- and-Spigot Pipe: Discuss and explain joining hub-and- spigot pipe by the two methods: the compression joint or the lead and oakum joint. Explain how to ensure proper alignment when creating compression and lead and oakum joints.

- Compression joints: set up stations with materials and tools to make the compression joint. Review the steps for making a compression joint:

  - Step one: Clean the neoprene gasket and pipe ends.

  - Step two: Insert the gasket in the hub.

  - Step three: Supply a rubber lubricant to the inside of the gasket.

  - Step four: Force the spigot end of the pipe into the gasket using a puller tool.

- Lead and oakum joints: discuss the process of lead and oakum joints. Emphasize the importance of working safely with molten lead. Emphasize that some states do not allow for the apprentices to use lead. Compare the types of local, and discuss the advantages and/or disadvantages of each. Review the specialty tools used to create lead and oakum joint:

  - running rope

  - Spring clamp

  - propane melting furnace

  - lead pot and ladle

  - yarning iron

  - packing iron

  - caulking iron

  - ceiling caulking iron

  - inside and outside caulking iron

pick out iron

Explain how a spring clamp is used with a running rope. Ask students to explain how the lead pot and ladle are used. Bring in a lead pot ladle. Demonstrate how to safely transfer molten lead and poured into the joint using the ladle. Discuss the tools are used to the oakum fiber into a joint. Review the different types of caulking irons. Discuss the advantages of each and explain what each should be used. Explain how to use a pick out iron to remove the lead and oakum from the joint. Bring in and display the tools used to make lead and oakum joints. Emphasize safety and maintenance procedures for using caulking irons. Explain how to make a vertical caulked joint. Compare the procedures to make for horizontal caulked joints with those for making vertical caulked joints.  Ask students identify differences between the two procedures. Demonstrate how to use a hot packing iron to sear the brown oakum. Bring in a variety of materials to make horizontal caulked joints. Have students practice using a yarning iron, running rope, and ball-peen hammer to pack the oakum.

- Joining No-Hub Pipe: Explain how to use couplings to join no-hub pipe. Demonstrate how to clean the area of the pipe and fittings at the gasket will cover. Bring in a torque wrench. Demonstrate how to tighten coupling clamps using a torque wrench. Explain how to use electric drill attachment with a torque wrench to tighten clamp.

- Performance Testing (Task 3 and 4)

Lesson 4: Hangers and Supports

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

2.  Review Essential Questions.

3.  Identify and review the unit vocabulary.

Many of the terms used in this lesson were introduced in the Core Curriculum module. Additional terms for this are:

Sway braces     Slope

4.  Lesson content: Hangers and Supports: Discuss with students why hangers are essential for horizontal and vertical support of piping. Discuss the particular seismic codes for your area. Refer students to National Fire Protection Association Chapter 13 regarding hangers, as well as the MSS40 hangars standards from the Manufacturers Standardization Society.

- Types of Hangers and Supports: Emphasize importance of referencing local codes to determine proper hanger spacing.

- Supporting Horizontal Pipe Runs: Review the types of hangers and brackets that may be used for horizontal pipe runs. Explain when sway braces may be necessary. Ensure that students understand how to maintain a proper slope on a horse on a run of pipe. Emphasize the importance of seismic restraints. Discuss when these are needed. Ask students to consult the 2003 International Building Code (or current code, if applicable) for seismic hazard maps, seismic design loads, and seismic code criteria. Have students determine whether seismic restraints are required in their area. Explain when and how to use beam clamps to attach a horizontal hanger to a wooden structure.

- Supporting Vertical Pipe Runs: Explain how to support the vertical load of a pipe using a riser clamp.

Lesson 5: Installation and Testing

1.  Identify the Standards. Standards should be posted in the classroom for each lesson.

2.  Review Essential Questions.

3.  Identify and review the unit vocabulary.

Many of the terms used in this lesson were introduced in the Core Curriculum module. Additional terms for this are:

Rotary Hammer drill     Powder-actuated fastening tool

4.  Lesson content: Installation and Testing

- Installation:  describe a variety of scenarios for supporting vertical and horizontal pipe runs. Ask the students to identify what type of support hangers and/or brackets would be appropriate for each application. Review methods for installing hangers and supports. Bring in a variety of fasteners for wood, metal, concrete, and masonry structures. Ask the students to identify the fastener and determine for which installation it is appropriate.

- Wooden Structures: Explain how to attach hangers to wooden structures

- masonry and concrete structures: bring in a variety of fasteners used to fasten hangers to masonry and concrete. Demonstrate how to use a Rotary Hammer Drill. Explain how to use a powder-actuated fastening tool. Stressed that you must be certified use of powder-actuated fastening tool.

- Testing Installations: Review the types of tests that can be used to check installations:

  - Hydrostatic test (water test)

  - Air pressure test

  - Smoke test

  - Peppermint test

- Performance Testing (Task 5)

- Review

- Module Examination

- Trainees must score 70% or higher to receive recognition from NCCER

- Record the testing results on Craft Training Report Form 200 and submit the results to the Training Program Sponsor.

- Performance Testing

- Trainees must perform each task to the satisfaction of the instructor to receive recognition from NCCER. If applicable, proficiency noted during laboratory exercises can be used to satisfy the Performance Testing requirements.

- Record the testing results on Craft Training Report Form 200 and submit the results to the Training Program Sponsor.

Attachments for Learning Experiences:

Notes & Reflections:

At the end of each module, various teaching tips are included for added activities for the students

Culminating Performance Task

Culminating Unit Performance Task Title:

Culminating Unit Performance Task Description/Directions/Differentiated Instruction:

Attachments for Culminating Performance Task:

Unit Resources

Web Resources:

Construction Education Foundation of Georgia, www.CEFGA.org

Cast Iron Soil Pipe Institute website: http://www.cispi.org, “Cast Iron Soil Pipe and Fittings Handbook,” http://cispi.org/handbook.htm, reviewed April 2009

Additional Resources:

- Basic Plumbing with Illustrations, Revised Edition, 1994. Howard C. Massey. Carlsbad, CA: Craftsman Book Company

- Plumber’s Handbook, Revised Edition, 1998. Howard C. Massey. Carlsbad, CA: Craftsman Book Company

- Plumbing: Design and Installation, Second Edition, 2002. L.V. Ripka. Homewood, IL: American Technical Publishers.

Attachment(s):

Materials & Equipment:

Classroom Use

Transparencies

Markers/chalk

Blank acetate sheets

Transparency pens

Pencils and scratch paper

Overhead projector and screen

Whiteboard/chalkboard

2003 International Building Code

Module Examinations

Performance Profile Sheets

Copies of Quick Quiz

Shop Use

Appropriate personal protective equipment

Cast-Iron Soil Pipe Institute (CISPI) handbook

Sections of hub-and-spigot pipe (single and double hub) in a variety of sizes

Sections of no-hub pipe in a variety of sizes

A variety of fittings with manufacturer labels

Folding rule

Tape measure

Soil pipe cutter

Neoprene gasket

Chain puller, lead hammer, or pushing bar

Rubber lubricant

Oakum fiber (white and brown)

Yarning iron

Running rope

Spring clamp

Lead pot and ladle

Packing iron

A variety of caulking irons

A variety of bends, including:

- Long bends

- Sweeps

- Heel inlets

- Closet bends

- Closet flanges

A variety of branches, including:

- Wyes

- Double wyes

- Sanitary tees

- Double sanitary tees

- Sanitary crosses

- Increasers

- Traps

Pickout iron

Ball-peen hammer

Couplings

Torque wrench

Sway braces

Screws, lag screws, or large nails for wooden structures

Beam clamps or C-clamps for metal structures

Expansion anchors or threaded masonry fasteners

Rotary hammer drill

What 21st Century Technology was used in this unit?

|  | Slide Show Software |  | Graphing Software |  | Audio File(s) |
| --- | --- | --- | --- | --- | --- |
|  | Interactive Whiteboard |  | Calculator |  | Graphic Organizer |
|  | Student Response System |  | Desktop Publishing |  | Image File(s) |
|  | Web Design Software |  | Blog |  | Video |
|  | Animation Software |  | Wiki |  | Electronic Game or Puzzle Maker |
|  | Email |  | Website |  |  |

# Text boxes

Architecture, Construction, Communications and Transportation