## Module 02105-05
Introduction to Plumbing Drawings

Lesson 1 of 2: Introduction, Components of Construction Drawings, and Reading Plumbing Drawings

This lesson is a classroom session in which the students will learn about the components of construction drawings and how to read plumbing drawings.  Students will interpret and explain information from given drawings and obtain information about piping systems from a set of drawings to fulfill Performance Task requirements.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify the basic symbols used in schematic drawings of pipe assemblies.

- Explain the types of drawings that may be included in a set of plumbing drawings and the relationship among the different drawings.

- Use an architect’s scale to draw lines to scale and measure lines drawn to scale.

- Discuss how code requirements apply to certain drawings.

Performance Requirements

  - Interpret and explain information from given drawings.  This corresponds to Performance Task 1.

  - Obtain information about piping systems from the set of drawings provided. This corresponds to Performance Task 2.

Reading Assignment

  - Module 02105, Sections 1 thru 3

Slide Presentation

  - Module 02105, Part 1 (Slides 1 thru 18)

Suggested Equipment/Materials

  - Architect’s scale

  - Various construction drawings.

Suggested Student Activity

  - Provide students with a complete set of construction drawings for a new home.  Have them examine the drawings and ask questions about anything they see on the drawings that they don’t understand or need clarified.

Testing

  - Module Review Test Questions 1 thru 8 for Sections 1.0.0 - 2.0.0, and Questions 1 thru 10 for Section 3.0.0.

Suggested Lab Activity

  - Students must interpret and explain information from given drawings and obtain information about piping systems from a set of drawings.

Additional Resources

  - Blueprint Reading for Construction, Prentice Hall, Upper Saddle River NJ

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 1

  - Review the objectives for the module.

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

SLIDE 2

  - Describe the purpose of drawings.

  - Define the term “construction drawing”

  - Briefly explain how drawings and blueprints are produced.

SLIDE 3

  - Describe the various components of a construction drawing.

  - Describe the characteristics of a plot plan (also known as a site plan).

  - Tell students to study the plot plan in the Appendix (Figure A-1). Then ask questions about that drawing to test their understanding.

SLIDE 4

  - Describe the characteristics of a foundation plan.

  - Describe the characteristics of a floor plan.

  - Tell students to study the floor plan in the Appendix (Figure A-2).  Then ask questions about that drawing to test their understanding.

SLIDE 5

  - Describe the characteristics of elevation drawings.

  - Tell students to study the elevation drawing in the Appendix (Figure A-3).  Then ask questions about that drawing to test their understanding.

  - Describe the characteristics of detail drawings.

  - Tell students to study the Janitor’s Sink detail drawing in the Appendix (Figure A-4).  Then ask questions about that drawing to test their understanding.

  - Describe the characteristics of electrical and HVAC drawings.

  - Describe the characteristics of plumbing drawings.

  - Tell students to study the large-scale plumbing drawing in the Appendix (Figure A-4).  Then ask questions about that drawing to test their understanding

  - Describe the characteristics of coordination drawings.

  - Play the Video on Slide 5B

Have students answer Review Questions for Sections 1.0.0 - 2.0.0. Provide correct answers and remediation at the end of the quiz.

SLIDE 6

  - Emphasize the importance of being able to read plumbing drawings to your success in the plumbing trade.

  - Describe the title block and the information it contains.

  - Define the term “scale” and explain why drawings are drawn to scale.

  - Introduce the architect’s scale and explain how it is used to read scale on drawings.

  - Have an architect’s scale available to pass around the class.  Encourage students to ask questions about it.

SLIDE 7

  - Use Table 1 to reinforce how to read the architect’s scale.

SLIDE 8

  - Describe how to read the architect’s scale using the ¼ scale.

SLIDES 9 & 10

  - Describe how to read feet and inches using the ¼ scale.  Note: Slides 9 and 10 (Figures 5 & 6) show different values on the same scale.

  - Using a projected image of a ¼ scale, identify points along the scale and ask students to relate the dimension it represents.

SLIDE 11

  - Explain the use of dimensional lines and extension lines on drawings.

SLIDES 12 thru 14

  - Explain that symbols are used on drawings to represent various objects and materials.

  - Have students study the three-part Figure 8 (Slides 12, 13, & 14) for a better understanding of the symbols used on plumbing drawings.

  - Draw symbols on a board or flip chart and ask students what plumbing component they represent.

SLIDE 15

  - Review the symbols used to represent pipe.

  - Have students study Figure 9 for a better understanding of the symbols used to represent pipe.

  - Draw symbols on a board or flip chart and ask students what type of pipe they represent.

SLIDES 16 and 17

  - Review the symbols used to represent plumbing fixtures.

  - Have students study the two-part Figure 10 (Slides 16 & 17) for a better understanding of the symbols used to represent plumbing fixtures.

  - Draw symbols on a board or flip chart and ask students what type of fixture they represent.

SLIDE 18

  - Explain the purpose of notes on drawings.  Provide examples of the type of information found in notes.

  - Describe the purpose of specifications on drawings.  Provide examples of the types of information found in specifications.

  - Explain the role of plumbing codes as they relate to the quality of an installation.

Have students answer Review Questions for Section 3.0.0. Provide correct answers and remediation at the end of the quiz.

Students must interpret and explain information from given drawings and obtain information about piping systems from the set of drawings provided with this module. These tasks correspond to Performance Tasks 1 and 2 respectively.