## Module 02105-05
Introduction to Plumbing Drawings

Lesson 2 of 2: Reading Piping Drawings

This lesson is a classroom session in which the students will learn about the various types of construction drawings.  Students will make isometric sketches from other drawings and explain the relationship among drawings, specifications, and the local plumbing code to fulfill Performance Task requirements.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify pictorial (isometric and oblique), schematic, and orthographic drawings, and discuss how different views are used to depict information about objects.

- Interpret plumbing-related information from a set of plumbing drawings.

- Sketch orthographic and schematic drawings.

- Identify parts of a plumbing fitting or device from an exploded or cutaway drawing.

Performance Requirements

  - Make isometric sketches from other drawings. This corresponds to Performance Task 3.

  - Explain the relationship among drawings, specifications, and the local plumbing code. This corresponds to Performance Task 4.

Reading Assignment

  - Module 02105, Section 4

Slide Presentation

  - Module 02105, Part 2 (Slides 19 thru 39)

Suggested Equipment/Materials

  - Various types of construction drawings.

  - Isometric sketching paper

Suggested Student Activity

  - Have students draw a schematic of a simple plumbing installation such as a bathroom sink or a hot water heater.

Testing

  - Module Review Test Questions 1 thru 10 Section 4.0.0.

  - CONTREN( Connect, Active Figure 28

  - Module Trade Terms Quiz

  - Module Examination

Suggested Lab Activity

  - Students must make isometric sketches from other drawings and explain the relationship among drawings, specifications, and the local plumbing code.

Additional Resources

  - www.repwars.com/detsearch.html (Repwars) Various downloadable schematic images of plumbing piping and fixtures.

  - www.tektoneco.com/samples/samples-CH.htm (The Tektone Company() Samples of construction drawings.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 19

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Describe a sketch and provide a sample of a simple sketch.

  - Describe the characteristics of pictorial drawings.

  - Describe the characteristics of isometric drawings.

SLIDES 20 thru 22

  - Describe and demonstrate how to draw an isometric sketch of a simple box.

  - Have students practice drawing simple isometric sketches such as squares and rectangles. Then progress to drawing more complex sketches such as seen in Figure 14 (Slide 21).

  - Provide isometric paper as seen in Figure 15 (Slide 22) to aid in drawing the sketches.

SLIDE 23

  - Explain the meaning of full circles and half circles at the end of horizontal lines on isometric sketches.

  - Describe riser diagrams and explain how they are used by plumbers to produce material takeoffs.

  - Have students study the large-scale riser diagram in the Appendix (see Figure A-5).

SLIDE 24

  - Describe the characteristics of an oblique drawing.

SLIDE 25

  - Explain that most plumbing drawings are schematic diagrams commonly called single-line drawings.

  - Describe the characteristics of single-line drawings.

SLIDES 26 thru 30

  - Describe the characteristics of orthographic drawings and show how they are created.

  - Use Figures 19 thru 23 (Slides 26 thru 30) to illustrate how orthographic drawings are created.

  - Have students practice drawing orthographic views of simple rectangular or square objects.

SLIDES 31 & 32

  - Explain that manufacturer’s catalogs often include drawings that provide details and dimensions of the fitting or fixture.  These catalog drawings are often called submittal data.

  - Explain that the catalog drawings become approved submittal data if an engineer or architect approves that fitting or fixture for use on a job.  Note:  Catalog drawings are shown in Figures 24 & 25 (Slides 31 & 32).

SLIDE 33

  - Explain that fixture drawings are used by plumbers to determine if a fixture will fit in the available space.  Figures 26, 27 & 28  (Slides 33, 34 & 35) are examples of fixture drawings.

SLIDE 34

  - Using Figure 27 (Slide 34) ask students to answer the 4 questions about the lavatory in paragraph 4.5.2.

SLIDE 35

  - Using Figure 28 (Slide 35) ask students to answer the 5 questions about the bathtub in paragraph 4.5.2.

SLIDES 36 thru 38

  - Explain that exploded drawings are used by manufacturers to show how complex objects are assembled.  Figures 29, 30 & 31  (Slides 36, 37 & 38) are examples of exploded drawings.

  - Using Figure 29 (Slide 36), ask students to identify the numbered parts of the pop-up assembly.

SLIDE 39

  - Explain that cutaway drawings can often provide adequate detail to show how a product is assembled.

  - Using Figure 32 (Slide 39) ask students to identify the numbered parts of the gate valve.

Have students answer Review Questions for Section 4.0.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 28.

Students must make isometric sketches from other drawings, and explain the relationship among drawings, specifications, and the local plumbing code. These tasks correspond to Performance Tasks 3 and 4 respectively.

Have the students complete the module Trade Terms Quiz.

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.