## Module 02104-05
Plumbing Math

Lesson 3 of 3: Measuring Pipe

This lesson is a classroom session in which the students will learn about measuring pipe.  Students will measure pipe using several different methods and determine end-to-end dimensions by figuring fitting allowances and thread makeup to fulfill Performance Task requirements.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify the parts of a fitting and use common pipe-measuring techniques.

- Use fitting dimension tables to determine fitting allowances and thread makeup.

- Calculate end-to-end measurements using fitting allowances and thread makeup.

Performance Requirements

  - Measure pipe using several different methods.  This corresponds to Performance Task 1.

  - Determine end-to-end dimensions by figuring fitting allowances and thread makeup.  This corresponds to Performance Task 2.

Reading Assignment

  - Module 02104, Section 3.0.0

Slide Presentation

  - Module 02104, Part 3 (Slides 14 thru 24)

Suggested Equipment/Materials

  - Pencil, paper, a pocket calculator, and a plumber’s rule.

  - Pipe and fittings

Suggested Student Activity

  - Have students obtain fitting dimension catalogs from a local plumbing supply so that they can see the type of real-world information that is available to them for measuring pipe.

Testing

  - Module Review Test Questions Section 3.0.0.

  - Module Trade Terms Quiz

  - CONTREN Connect, Active Figure 4

  - Module Examination

Suggested Lab Activity

  - Students must measure pipe and determine end-to-end dimensions.

Additional Resources

  - Mathematics for Plumbers and Pipefitters, Terre Haute, IN, TWI Press, Inc.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 14

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Explain the importance of correctly measuring pipe.

  - Describe the basic parts of a fitting used when measuring pipe.

  - Have various fitting available to pass around to students.

SLIDES 15 & 16

  - Describe and demonstrate the various methods of measuring pipe lengths.

  - State that the methods can be shown pictorially and schematically.  Note:  Both versions showing the same information are on slides 15 and 16.

SLIDE 17

  - Explain that the same information shown on slides 15 and 16 (Figures 4 & 5) can be expressed verbally as shown in Table 4.

  - Explain what the terms thread makeup and fitting allowance (takeoff) mean.

  - Play the video on slide 17B

.

SLIDES 18 thru 21

  - Show how manufacturer’s tables can be used to determine fitting allowances.

  - Slides 18 thru 21 (Figures 6 thru 9) show similar information, but for threaded and non-threaded fittings made of different materials.

SLIDE 22

  - Describe and demonstrate the steps for measuring pipe using the center-to-center method.

  - Provide students with example figures and have them calculate pipe length using the center-to-center method.

SLIDE 23

  - Describe and demonstrate the steps for measuring pipe using the end-to-center method.

  - Provide students with example figures and have them calculate pipe length using the end-to-center method.

SLIDE 24

  - Describe and demonstrate the steps for measuring pipe using the face-to-face method.

  - Provide students with example figures and have them calculate pipe length using the face-to-face method.

  - Review the general principals of pipe measurement.

Have students answer Review Questions for Section 3.0.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 4.

Students must measure pipe using the end-to-end, end-to-center, center-to-center, end-to-face, face-to-face, and face-to throat methods.  Students must determine end-to-end dimensions by figuring fitting allowances and thread makeup. These tasks correspond to Performance Tasks 1 and 2 respectively.

Have students complete the Module Trade Terms Quiz.

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.