## Module 02107-05
Copper Pipe and Fittings

Lesson 2 of 2: Measuring, Cutting, Bending, Joining, and Grooving, and Installing, Insulating, and Pressure Testing

This lesson is a combined classroom and lab session in which the students will learn how to measure, cut, bend, join, groove, install, insulate, and pressure test copper pipe.   Students will select appropriate personal protective equipment for working with copper pipe.  Then they will cut, ream, join, and groove copper piping.  Students will also select the correct pipe hanger or support for the application.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify the hazards and safety precautions associated with copper piping.

- List the personal protective equipment to be worn when soldering copper pipes.

- Use an MSDS to find any potential health hazards that solders and solder fluxes present.

- Measure, cut, ream, and join copper piping.

- Identify the techniques used in hanging and supporting copper piping.

Performance Requirements

  - Select appropriate personal protective equipment for working with copper piping.  This corresponds to Performance Task 3.

  - Measure, cut, ream, join, and groove copper piping. This corresponds to Performance Task 4.

  - Select the correct hanger or support for the application.  This corresponds to Performance Task 5.

Reading Assignment

  - Module 02107, Sections 4 thru 7

Slide Presentation

  - Module 02107, Part 2 (Slides 13 thru 35)

Suggested Equipment/Materials

  - Samples of various types of copper pipe and pipe fittings

  - Cutting and reaming tools

  - Soldering torch, solder, and flux.

  - Pipe supports

  - Pipe insulation

  - Wrenches

  - Flaring tool

Suggested Student Activity

  - Under your supervision, students will measure, cut, ream and join copper tubing using various methods.

Testing

  - Module Review Test Questions 6 thru 10 for Sections 3.0.0. – 4.0.0, and Questions 1 thru 5 for Sections 5.0.0 – 7.0.0

  - CONTREN Connect, Active Figures 13 & 26

  - Module Trade Terms Quiz

  - Module Examination

Suggested Lab Activity

  - Students must select appropriate personal protective equipment, measure, cut, ream, and join copper piping, and select correct hangers or supports for the application.

Additional Resources

  - www.easy2diy.com/cm/easy/diy_ht_index.asp?page_id=35720496 (Easy2DIY) On-line animated tutorial on soldering copper piping.

  - www.oatey.com (Oatey) MSDS sheets for solder and fluxes.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 12

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Explain that there are a variety of ways available to measure, cut, bend, join, and groove copper piping.

  - Review the seven methods for measuring pipe.

SLIDE 13

  - Explain why a hand-held tubing cutter is a good choice for cutting copper tubing.

  - Have a hand-held tubing cutter available to pass around the class.

SLIDE 14

  - Explain the purpose of an internal tube cutter.

  - Have an internal tube cutter available to pass around the class.

SLIDE 15

  - Describe and demonstrate how to cut tubing with a hand-held tubing cutter.

  - Allow students to practice cutting scraps of tubing using a hand-held tubing cutter.

SLIDES 16

  - Describe and demonstrate how to bend soft copper tubing with a tube-bending spring.

SLIDE 17

  - Describe and demonstrate how to bend soft copper tubing with manual tube benders.

  - Allow students to practice bending scraps of tubing.

SLIDE 18

  - Describe the three methods used to join copper tubing.

  - Describe the soldering process and show the tools and materials needed to make a soldered joint.

  - Have samples of the various tools and materials used to make a solder joint available to pass around the class.

SLIDE 19

  - Describe and demonstrate how to solder copper tubing to a fitting.

  - Under your supervision, allow students to solder copper tubing to a fitting. Set up a test station to test the fittings under water pressure.

  - Ensure that all students are wearing the appropriate personal protective equipment.

  - Play videos on Slide 19A and 19B

SLIDE 20

  - Describe and demonstrate how to join copper tubing with a compression fitting.

  - Under your supervision, allow students to join copper tubing with a compression fitting.

SLIDE 21

  - Show the students how a flaring tool is used.

SLIDE 22

  - Describe a flare fitting and show the students a finished flair fitting.

SLIDE 23

  - Explain the difference between single-thickness and double-thickness flare fittings.

  - Demonstrate how to make a flare connection.

  - Under your supervision, allow students to join copper tubing with a flare connection.

  - Describe the ways that copper pipe can be grooved.

Have students answer Review Questions 6 thru 10 for Sections 3.0.0 - 4.0.0. Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 13.

SLIDES 24

- Explain why pipes must be properly supported.

  - Describe the factors that determine what type of hanger or support to use.

  - Describe the basic components of hangers and supports.

  - Discuss the types of supports used to attach pipe to structural members such as girders.

  - Have a variety of these supports available to pass around the class.

SLIDE 25

  - Discuss the types of supports used to suspend pipe..

  - Have a variety of these supports available to pass around the class.

SLIDE 26

  - Discuss the applications for pipe hangers.

  - Have a variety of these supports available to pass around the class.

SLIDE 27

  - Explain why pipe hangers must sometimes contain vibration isolators.

  - Have a sample of a vibration isolator available to pass around the class.

SLIDE 28

  - Describe conditions under which a vertical hanger would be used.

  - Have a sample of a vertical hanger available to pass around the class.

SLIDE 29

  - Describe conditions under which universal pipe clamps and channels would be used.

  - Have samples of these devices available to pass around the class.

SLIDE 30

  - Explain the relationship of connectors and structural attachments.  The connector section of the hanger links the pipe attachment to the structural attachment.

  - Describe common rod attachment connectors.  Have samples available to pass around the class.

SLIDE 31

  - Describe the various types of structural attachments and where they are typically used.

  - Have samples of structural attachments available to pass around the class.

Slide 32

- Explain how to select the proper fastener for a given application.

SLIDE 33

  - Explain why it is often necessary to insulate copper pipes.

  - Describe and demonstrate how to apply insulation to copper pipes.

  - Have samples of pipe insulation available to pass around the class.

  - Have students practice applying insulation to pipes.

SLIDE 34

  - Explain the reasons for pressure testing copper piping systems.

  - Describe how pressure testing is done.

  - Have a hydraulic pump used for pressure testing available for students to inspect.

Have students complete the following testing:

- Review Questions for Section 5.0.0 - 7.0.0.  Provide correct answers and remediation at the end of the quiz.

- Module Trade Terms quiz

- Active Figure 26.

Performance Testing: Students must select appropriate personal protective equipment and measure, cut, ream, join, and groove copper piping.  Students must also select the correct hanger or support for copper pipes.  These tasks correspond to Performance Tasks 3, 4, and 5 respectively.

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.