## Module 02108-05
Cast-Iron Pipe and Fittings

Lesson 3 of 3: Hangers and Supports, and Installation and Testing

This lesson is a classroom session in which the students will learn how to hang and support cast-iron piping, and how to test cast-iron piping installations.  Students will select the correct hanger or support and spacing for the application to fulfill a Performance Task requirement.

Objectives

Upon completion of this lesson, the student should be able to:

- Identify the various techniques used in handling and supporting cast-iron piping.

- Describe safety precautions for using powder-actuated tools.

Performance Requirements

  - Select the correct hanger or support for the application. This corresponds to Performance Task 5.

Reading Assignment

  - Module 02108, Sections 5 & 6

Slide Presentation

  - Module 02108, Part 3 (Slides 42 thru 52)

Suggested Equipment/Materials

  - Various pipe support materials and tools required to install them.

Suggested Student Activity

  - Students will research and report on safety requirements and OSHA requirements related to operating powder-actuated tools.

Testing

  - Module Review Test Questions 1 thru 10 for Section 5.0.0 – 6.0.0.

  - Module Trade Terms Quiz

  - Module Examination

Suggested Lab Activity

  - Students must select the correct hanger or support for the application.

Additional Resources

  - www.ramset-redhead.com/safety.asp (Ramset Fastening Systems) Safety information on the operation of powder-actuated tools.

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 42

  - Review the objectives to be covered in this lesson.  Ask students if they have any questions about the lesson or course objectives.

  - Explain why cast-iron pipe must be properly supported.

  - Describe the factors affecting the selection of hangers and supports.

  - Have samples of various horizontal pipe hangers available to pass around the class.

SLIDE 43

  - Describe code requirements governing the spacing of hangers.

SLIDE 44

  - Explain why sway bracing is often required with cast-iron piping.

SLIDE 45

  - Describe the use of a pipe trapeze to support pipes.

SLIDE 46

  - Describe how pipe supports can be made from pre-punched channel.

SLIDE 47

  - Describe the slope requirements that will allow wastes in DWV piping to drain properly.

  - Point out that the pipe slope should not exceed ¼” per foot because liquids and solids could separate, causing a clogged drain.

  - Describe the various devices used to attach hangers to metal beams.  Have samples of each type available to pass around the class.

SLIDE 48

  - Describe how riser clamps support vertical pipe runs.

  - Have a riser clamp available to pass around the class.

SLIDE 49

  - Explain that fasteners used to attach pipe supports to the structure must be strong to support the weight of cast-iron piping.

  - Explain that a rotary hammer drill may be required to place fasteners in concrete or masonry.

  - Have a rotary hammer drill available for students to inspect.

SLIDE 50

  - Describe the various anchors used to attach hangers and supports to concrete or masonry.

  - Have samples of these anchors available to pass around the class.

SLIDE 51

  - Describe how powder-actuated tools can be used to attach hangers or supports.

  - Emphasize the need to be certified in the use of the tool.

  - Have students research and report on the safety issues associated with the use of this tool.

SLIDE 52

  - Describe the various methods for testing cast-iron piping installations including hydrostatic testing, air pressure testing, the smoke test, and the peppermint test.

Testing:

Have students answer Review Questions for Section 5.0.0 - 6.0.0.  Provide correct answers and remediation at the end of the quiz.

Have the students complete the module Trade Terms Quiz.

Students must select the correct hanger or support and spacing for the application.  This task corresponds to Performance Task 5.

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.