## Module 02111-05
Fixtures and Faucets

Lesson 1 of 2: Fixtures and Faucets, Part Two

This lesson is a classroom session in which the students will learn about fixtures and faucets used in modern plumbing systems.

Objectives

Upon completion of this lesson, the student should be able to:

- Describe common types of garbage disposals and domestic dishwashers.

- Describe how the wastewater from dishwashers is disposed.

- Identify and describe common types of drinking fountains and water coolers.

- Describe common types of toilets, urinals, and bidets.

- Describe the characteristics of compression and non-compression faucets.

Performance Requirements

  - No performance requirements for this lesson.

Reading Assignment

  - Module 02111, Sections 4.5.0 thru 5.0.0

Slide Presentation

  - Module 02111, Part 2 (Slides 24 thru 55)

Suggested Equipment/Materials

  - Fixture and faucet manufacturer’s catalogs.

Suggested Student Activity

  - Have students visit a plumbing supply showroom or home store to view the various faucets available.  Have students obtain catalogs listing various faucets.

Testing

  - Module Review Test Questions 1 thru 10 for Sections 4.5.0 – 4.12.0, and Questions 1 thru 10 for Section 5.0.0.

  - CONTREN Connect, Active Figure 25.

  - Module Trade Terms Quiz

  - Module Examination

Suggested Lab Activity

  - No lab activities in this lesson.

Additional Resources

  - www.moen.com (MOEN) A catalog of faucets

  - www.kitchenaid.com (Kitchenaid) Catalog containing information on domestic dishwashers and garbage disposers

  - Contren Connect Level 1Plumbng Annotated Instructors Guide (available from the NCCER)

SLIDE 24

  - Describe and compare the characteristics of washout urinals (Slide 24, Figure 18) and siphon-jet urinals (Slide 25, Figure 19).

  - During break, ask some of the students to report on the type of urinals used in the men’s room.

SLIDE 25

No Notes

SLIDE 26

  - Describe the characteristics of the valves (flushometers) used to flush urinals, including infrared devices.

  - Point out that manual flushometers can be converted by replacing the flush handle with the detector and valve assembly.

SLIDE 27

  - Describe the characteristics of bidets and how they operate.

SLIDE 28

  - Describe the purpose of a food-waste disposer.

  - Ask students to relate any negative experiences they have had with a food-waste disposer.

SLIDE 29

  - Describe how the good-waste disposer is connected into a drain to prevent food wastes from backing up into a sink.

SLIDE 30

  - Describe the characteristics of domestic dishwashers.

  - Have the students research dishwashers and report on the different brands and features available..

SLIDE 31

  - Describe the two common methods used to prevent waste from backing up into the dishwasher including an air gap (Slide 31, Figure 25) and looping the dishwasher drain hose (Slide 32, Figure 26).

  - Describe the other option: connecting the discharge hose through a single   1 ½” trap.

SLIDE 32

No Notes

SLIDE 33

  - Describe the characteristics and uses of laundry trays.

SLIDE 34

  - Describe the characteristics, and similarities and differences between service sinks (Slide 34, Figure 28) and mop basins (Slide 35, Figure 29).

SLIDE 35

No Notes

SLIDE 36

  - Describe the characteristics, and similarities and differences between floor drains (Slide 36, Figure 30) and floor sinks (Slide 37, Figure 31).

SLIDE 37

No notes

SLIDE 38

  - Describe the characteristics, and similarities and differences between drinking fountains (Slide 38, Figure 32) and water coolers (Slide 39, Figure 33).

  - Describe the characteristics of ADA-compliant drinking fountains and water coolers.

SLIDE 39

Have students answer Review Questions for Sections 4.5.0 – 4.12.0.  Provide correct answers and remediation at the end of the quiz.  Have students complete Active Figure 25.

SLIDE 40

  - State that faucets fall into two basic classifications: compression and non-compression.

  - Describe the characteristics and major components of a compression faucet.

SLIDE 41

  - Describe the characteristics of compression faucets used in kitchens

  - Have a compression faucet available to pass around the class.

SLIDE 42

  - Describe the characteristics of compression faucets used in kitchens

SLIDE 43

  - Describe how a plunger-operated drain valve operates.

  - Have a plunger-operated drain valve available to show the class.

SLIDE 44

  - Describe the characteristics, as well as the advantages and disadvantages of a self-closing compression faucet.

SLIDE 45

  - Describe the characteristics, as well as the advantages of non-compression (also called washerless) faucets.

SLIDE 46

  - Describe the characteristics of non-compression, single-control faucets.

SLIDE 47

  - Describe the characteristics and operating principles of rotating cylinder (also called cartridge) faucets.

SLIDE 48

  - Describe the typical center dimensions for kitchen and bathroom faucets.

  - Have examples of kitchen and bathroom faucets available to pass around the class.  This will enable students to see the differences in center dimensions.

SLIDE 49

  - Describe and compare the characteristics of combination bath and shower fittings, including the use of a diverter (Slide 49, Figure 43), a single-control pressure-mixing valve (Slide 50, Figure 44), and combination fittings using a flexible water line (Slide 51, Figure 45).

  - Have examples of each type of combination fitting available to pass around the class.

SLIDE 50

No notes

SLIDE 51

No Notes

SLIDE 52

  - Describe the characteristics of utility faucets and where they are typically used.

  - Have a utility faucet available to pass around the class.

SLIDE 53

  - Describe the characteristics of hose bibbs and where they are typically used.

  - Have a hose bibb available to pass around the class.

SLIDE 54

  - Describe the characteristics of frost-resistant wall hydrants (Slide 54, Figure 48) and frost-resistant yard hydrants (Slide 55, Figure 49) and where they are typically used.

  - Have a wall hydrant and yard hydrant available to pass around the class.

SLIDE 55

Have students answer Review Questions for Section 5.0.0.  Provide correct answers and remediation at the end of the quiz.

Have students compete the module Trade Terms Quiz

At the completion of this session, provide a module review and then administer the Module Examination.  Students must achieve a score of at least 70% and have satisfactorily completed all lab exercises and/or Performance Testing requirements to receive credit for the module.