Battery Tutorial Student Hand Out

A Few Basics

The Lead Acid battery is made up of plates, lead, and lead oxide (various other elements are used to

change density, hardness, porosity, etc.) with a 35% sulfuric acid and 65% water solution. This solution is

called electrolyte which causes a chemical reaction that produce electrons. When you test a battery with a

hydrometer you are measuring the amount of sulfuric acid in the electrolyte. If your reading is low, that

means the chemistry that makes electrons is lacking. So where did the sulfur go? It is resting to the battery

plates and when you recharge the battery the sulfur returns to the electrolyte

We must think safety when we are working around and with batteries. Remove all jewelry. After all you

don't want to melt your watchband while you are wearing the watch. The hydrogen gas that batteries

make when charging is very explosive. I have had 2 batteries blow up and drench me in sulfuric acid.

That is no fun. This is a good time to use those safety goggles that are hanging on the wall. Sulfuric Acid

eats up clothing and you may want to select Polyester clothing to wear, as it is naturally acid resistant. I

just wear junk clothes, after all Polyester is so out of style. When doing electrical work on vehicles it is

best to disconnect the ground cable. Just remember you are messing with corrosive acid, explosive gases

and 100's amps of electrical current.

Basically there are two types of batteries; starting (cranking), and deep cycle (marine/golf cart). The

starting battery (SLI starting lights ignition) is designed to deliver quick bursts of energy (such as

starting engines) and have a greater plate count. The plates will also be thinner and have somewhat

different material composition. The deep cycle battery has less instant energy but greater long-term

energy delivery. Deep cycle batteries have thicker plates and can survive a number of discharge cycles.

Starting batteries should not be used for deep cycle applications. The so-called Dual Purpose Battery is

only a compromise between the 2 types of batteries.

3. Wet Cell (flooded), Gel Cell, and Absorbed Glass Mat (AGM) are various versions of the lead acid

battery. The wet cell comes in 2 styles; serviceable, and maintenance free. Both are filled with electrolyte

and I prefer one that I can add water to and check the specific gravity of the electrolyte with a

hydrometer. The Gel Cell and the AGM batteries are specialty batteries that typically cost twice as much

as a premium wet cell. However they store very well and do not tend to sulfate or degrade as easily or as

easily as wet cell. There is little chance of a hydrogen gas explosion or corrosion when using these

batteries; these are the safest lead acid batteries you can use. Gel Cell and some AGM batteries may

require a special charging rate. I personally feel that careful consideration should be given to the AGM

battery technology for applications such as Marine, RV, Solar, Audio, Power Sports and Stand-By Power

just to name a few. If you don't use or operate your equipment daily; this can lead premature battery

failure; or depend on top-notch battery performance then spend the extra money. Gel Cell batteries still

are being sold but the AGM batteries are replacing them in most applications. There is a little confusion

about AGM batteries because different manufactures call them different names; some of the popular ones

are sealed regulated valve, dry cell, non-spillable, and sealed lead acid batteries. In most cases AGM

batteries will give greater life span and greater cycle life than a wet cell battery.

SPECIAL NOTE about Gel Batteries: It is very common for individuals to use the term GEL CELL when

referring to sealed, maintenance free batteries, much like one would use Kleenex when referring to facial

tissue or "Xerox machine" when referring to a copy machine. Be very careful when specifying a battery

charger, many times we are told by customer they are requiring a charger for a Gel Cell battery and in fact

the battery is not a Gel Cell.

AGM: The Absorbed Glass Matt construction allows the electrolyte to be suspended in close proximity

with the plateÕs active material. In theory, this enhances both the discharge and recharge efficiency.

Actually, the AGM batteries are a variant of Sealed VRLA batteries. Popular usage high performance

engine starting, power sports, deep cycle, solar and storage battery. The AGM batteries we sell are

typically good deep cycle batteries and they deliver best life performance if recharged before the battery

drops below the 50 percent discharge rate. If these AGM batteries are discharged to a rate of 100 percent

the cycle life will be 300 plus cycles and this is true of most AGM batteries rated as deep cycle batteries.

GEL: The gel cell is similar to the AGM style because the electrolyte is suspended, but different because

technically the AGM battery is still considered to be a wet cell. The electrolyte in a GEL cell has a silica

additive that causes it to set up or stiffen. The recharge voltages on this type of cell are lower than the

other styles of lead acid battery. This is probably the most sensitive cell in terms of adverse reactions to

over-voltage charging. Gel Batteries are best used in VERY DEEP cycle application and may last a bit

longer in hot weather applications. If the incorrect battery charger is used on a Gel Cell battery poor

performance and premature failure is certain.

CCA, CA, AH and RC what are these all about? Well these are the standards that most battery

companies use to rate the output and capacity of a battery.

Cold cranking amps (CCA) is a measurement of the number of amps a battery can deliver at 0 ° F for 30

seconds and not drop below 7.2 volts. So a high CCA battery rating is good especially in cold weather.

CA is cranking amps measured at 32 degrees F. This rating is also called marine cranking amps (MCA).

Hot cranking amps (HCA) is seldom used any longer but is measured at 80 ° F.

Reserve Capacity (RC) is a very important rating. This is the number of minutes a fully charged battery at

80 ° F will discharge 25 amps until the battery drops below 10.5 volts.

An amp hour (AH) is a rating usually found on deep cycle batteries. If a battery is rated at 100 amp hours

it should deliver 5 amps for 20 hours, 20 amps for 5 hours, etc.

Battery Maintenance is an important issue. The battery should be cleaned using a baking soda and

water mix; a couple of table spoons to a pint of water. Cable connection needs to be clean and tightened.

Many battery problems are caused by dirty and loose connections. A serviceable battery needs to have the

fluid level checked. Use only mineral free water. Distilled water is best. Don't overfill battery cells

especially in warmer weather. The natural fluid expansion in hot weather will push excess electrolytes

from the battery. To prevent corrosion of cables on top post batteries use a small bead of silicon sealer at

the base of the post and place a felt battery washer over it. Coat the washer with high temperature grease

or petroleum jelly (Vaseline), then place cable on the post and tighten. Coat the exposed cable end with

the grease. Most folks don't know that just the gases from the battery condensing on metal parts cause

most corrosion.

Battery Testing can be done in more than one way. The most popular is measurement of specific

gravity and battery voltage. To measure specific gravity buy a temperature compensating hydrometer and

measure voltage, use a digital D.C. Voltmeter. A good digital load tester may be a good purchase if you

need to test batteries sealed batteries.

You must first have the battery fully charged. The surface charge must be removed before testing. If the

battery has been sitting at least several hours (I prefer at least 12 hours) you may begin testing. To remove

surface charge the battery must experience a load of 20 amps for 3 plus minutes. Turning on the

headlights (high beam) will do the trick. After turning off the lights you are ready to test the battery.

| State of Charge | Specific Gravity | Voltage |  |
| --- | --- | --- | --- |
|  |  | 12v | 6v |
| 100% | 1.265 | 12.7 | 6.3 |
| *75% | 1.225 | 12.4 | 6.2 |
| 50% | 1.190 | 12.2 | 6.1 |
| 25% | 1.155 | 12.0 | 6.0 |
| Discharged | 1.120 | 11.9 | 6.0 |

*Sulfation of Batteries starts when specific gravity falls below 1.225 or voltage measures less than 12.4

(12v Battery) or 6.2 (6 volt battery). Sulfation hardens the battery plates reducing and eventually

destroying the ability of the battery to generate Volts and Amps.

Load testing is yet another way of testing a battery. Load test removes amps from a battery much like

starting an engine would. A load tester can be purchased at most auto parts stores. Some battery

companies label their battery with the amp load for testing. This number is usually 1/2 of the CCA rating.

For instance, a 500CCA battery would load test at 250 amps for 15 seconds. A load test can only be

performed if the battery is near or at full charge.

The results of your testing should be as follows:

Hydrometer readings should not vary more than .05 differences between cells.

Digital Voltmeters should read as the voltage is shown in this document. The sealed AGM and Gel-Cell

battery voltage (full charged) will be slightly higher in the 12.8 to 12.9 ranges. If you have voltage

readings in the 10.5 volts range on a charged battery, that indicates a shorted cell.

If you have a maintenance free wet cell, the only ways to test are voltmeter and load test. Most of the

maintenance free batteries have a built in hydrometer that tells you the condition of 1 cell of 6. You may

get a good reading from 1 cell but have a problem with other cells in the battery.

When in doubt about battery testing, call the battery manufacturer. Many batteries sold today have a toll

free number to call for help

Battery life and performance - Average battery life has become shorter as energy requirements have

increased. Two phrases I hear most often are "my battery won't take a charge, and my battery won't

hold a charge". Only 30% of batteries sold today reach the 48-month mark. In fact 80% of all battery

failure is related to sulfation build-up. This build up occurs when the sulfur molecules in the electrolyte

(battery acid) become so deeply discharged that they begin to coat the battery's lead plates. Before long

the plates become so coated that the battery dies. The causes of sulfation are numerous. Let me list some

for you.

Batteries sit too long between charges. As little as 24 hours in hot weather and several days in cooler

weather. Battery is stored without some type of energy input.

"Deep cycling" an engine starting battery. Remember these batteries can't stand deep discharge.

Undercharging of a battery, to charge a battery (letÕs say) to 90% of capacity will allow sulfation of the

battery using the 10% of battery chemistry not reactivated by the incomplete charging cycle.

Heat of 100 plus F., increases internal discharge. As temperatures increase so does internal discharge. A

new fully charged battery left sitting 24 hours a day at 110 degrees F for 30 days would most likely not

start an engine.

Low electrolyte level - battery plates exposed to air will immediately sulfate.

Incorrect charging levels and settings. Most cheap battery chargers can do more harm than good. See the

section on battery charging

Battery Charging - Remember you must put back the energy you use immediately. If you don't the

battery sulfates and that affects performance and longevity. The alternator is a battery charger. It works

well if the battery is not deeply discharged. The alternator tends to overcharge batteries that are very low

and the overcharge can damage batteries. In fact an engine starting battery on average has only about 10

deep cycles available when recharged by an alternator. Batteries like to be charged in a certain way,

especially when they have been deeply discharged. This type of charging is called 3 step regulated

charging. Please note that only special SMART CHARGERS using computer technology can perform 3

step charging techniques. You don't find these types of chargers in parts stores and Wal-Marts. The first

step is bulk charging where up to 80% of the battery energy capacity is replaced by the charger at the

maximum voltage and current amp rating of the charger. When the battery voltage reaches 14.4 volts this

begins the absorption charge step. This is where the voltage is held at a constant 14.4 volts and the

current (amps) declines until the battery is 98% charged. Next comes the Float Step. This is a regulated

voltage of not more than 13.4 volts and usually less than 1 amp of current. This in time will bring the

battery to 100% charged or close to it. The float charge will not boil or heat batteries but will maintain the

batteries at 100% readiness and prevent cycling during long term inactivity. Some gel cell and AGM

batteries may require special settings or chargers.

Battery Do's

Think Safety First.

Do regular inspection and maintenance especially in hot weather.

Do recharge batteries immediately after discharge.

Do buy the highest RC reserve capacity or AH amp hour battery that will fit your configuration.

Battery Don'ts

Don't forget safety first.

Don't add new electrolyte (acid).

Don't use unregulated high output battery chargers to charge batteries.

Don't place your equipment and toys into storage without some type of device to keep the battery

charged.

Don't put off recharging batteries.

Don't add tap water as it may contain minerals that will contaminate the electrolyte.

Don't discharge a battery any deeper than you possibly have to.

Don't let a battery get hot to the touch and boil violently when charging.

Don't mix size and types of batteries.