Water Supply Vocabulary Teacher’s Guide

Water Supply – The primary weapon for extinguishment; dependable water supply is critical to fire-fighting and must be accomplished ASAP

Municipal Water Supply – Public utilities; owned and operated by local government

Dry-barrel Hydrant – A hydrant designed to allow water to drain from the barrel between uses to prevent freezing damage

Wet-barrel Hydrant – A hydrant which always has water in the barrel

Flow – The quantity of water moving through a pipe, hose, or nozzle measured by its volume

Pressure – The energy level measured in pounds per square inch (psi) (or kilopascals)

Static Pressure – Pressure when no water is moving

Normal Operating Pressure – Pressure during a period of normal consumption

Residual Pressure – Amount of pressure that remains in the system when water is flowing

Flow Pressure – Measures quantity of water flowing through an opening during a hydrant test

Static Water Supply – Rivers, lakes, reservoirs, swimming pools, etc

Portable Water Supply – Tankers, portable tanks, and other apparatus designed to move water to the fire