Statistical Mathematical Evaluation – Grade Sheet -key

Directions:   Perform Statistical Mathematical Calculations as indicated below.

Scenario – You work in a biotechnology laboratory that will be replacing a

Chemistry analyzer with a new model. Your lab is evaluating two instruments and

you need to determine which model is the most accurate and precise.  The known

value for the instrument control is 140mg. The following data were reported for each

instrument over a seven day period. Complete the evaluation using the data and steps

outlined in the following situation. Show your calculations for full credit.

Instrument – A                                                               Instrument – B____________

(140, 140, 141,139,138,142, 141)                                    (139, 140, 140, 136, 135, 140, 142)

________________________________________________________________________

- Determine the mean from the results for each instrument:

Instrument – A   = 140                                Instrument – B   = 139

- Calculate the range and standard deviation for each instrument results. Show your calculations.

Instrument – A

s =  1.4

range  -  142-138 = 4

---------------------------------------------------------------------------------------------------------------

Instrument – B

s= 2.5

range  -   142-135 = 7

----------------------------------------------------------------------------------------------

- Using the standard deviation value for each instrument above, determine

the coefficient of variation for each instrument.

Instrument – A                                         Instrument – B

CV = 1.4    x 100%  = 1.0 %                 CV= 2.5   x 100% = 1.8 %

140                                                      139

4.  Which instrument would be considered the most accurate / precise?  A

Why?     Instrument A has a smaller standard deviation, range, and coefficient

of variation than instrument B. Instrument A’s mean was also closer to the

known assayed mean value. Therefore A is more accurate / precise than B.