DEMONSTRATE USING A MICROSCOPE

NAME:  _________________________________

DIRECTIONS:  DEMONSTATE CORRECT MICROSCOPE PROCEDURE ACCORDING TO THE CRITERIA BELOW.

- SET UP MICROSCOPE & PLUG IN CORRECT OUTLET             6

- IDENTIFY PARTS:

  - ARM                                                                                              2

  - BASE                                                                                             2

  - BODY TUBE                                                                                2

  - COURSE ADJUSTMENT                                                          2

  - EYEPIECE(S)                                                                              2

  - FINE ADJUSTMENT                                                                  2

  - IRIS DIAPHRAGM                                                                     2

  - LIGHT                                                                                           2

  - OBJECTIVES (LOW, HIGH, OIL…)                                       2

  - REVOLVING NOSEPIECE                                                        2

  - SLIDE CLIPS                                                                                2

  - STAGE                                                                                            2

- PLACE / ADHERE SPECIMEN ON SLIDE                                         5

- ADD A DROP OF WATER TO SLIDE                                                  5

- PLACE COVER SLIP (AVOID AIR BUBBLES)                                 5

- POSITION SLIDE UNDER SLIDE CLIPS                                           5

- POSITION LOW POWER OBJECTIVE                                              5

- FOCUS USING COARSE ADJUSTMENT                                           5

- USE FINE ADJUSTMENT FOR CLEAR FOCUS                              5

- ADJUST LIGHT SOURCE                                                                     5

- SWITCH TO HIGH POWER OBJECTIVE                                         5

- FOCUS WITH FINE ADJUSTMENT                                                    5

- ID STRUCTURE(S) CORRECTLY                                                       5

- REMOVE SLIDE                                                                                     5

- TURN OFF LIGHT                                                                                  5

- CLEAN & STORE MICROSCOPE                                                       5

TOTAL SCORE:   ___100 __