Identify Laboratory Glassware

Directions:  Match the name with the appropriate glassware.

- Beaker -

- Bottle & Stopper -

- Erlenmeyer Flask -

- Funnel -

- Graduated Cylinder -

- Serological Pipette -

- Stirring Rod -

- Test Tubes -

- Volumetric Flask -

- Volumetric Pipette -

Directions:  Match the glassware diagram with the correct description.

- Jar with pouring spout used for noncritical measurements (50mL -100mL).  ____

- Straw-like device with a single graduation measurement (1mL – 20 mL).  ______

- Common flask capable of measuring a single amount (25 mL – 1 L).  _________

- Large storage container for reagents (size varies) . _________________________

- Graduated flask capable of measuring noncritical volumes (50 mL – 2 L).  _____

- Small storage & testing container (size varies).  ___________________________

- A reagent mixing instrument. _________________________________________

- Straw-like device with graduated lines down to 0.1 (1mL – 20 mL). ___________

- Cone shaped device used as a pouring aid. _______________________________

- Flared base tube with graduated lines for measuring multiple volumes

(50 mL – 2 L). _____________________________________________________